5F-2.003 Registration and Identification.

(1) The Department of Agriculture and Consumer Services will furnish on request Form DACS-03202 for making statements and affidavits required in Section 525.01, Florida Statutes. Form DACS-03202 is effective 11-29-94, (Rev. 6/01) and is hereby adopted and incorporated by reference herein. The form may be obtained by writing or visiting the Department of Agriculture and Consumer Services, Division of Standards, Bureau of Petroleum Inspection, 3125 Conner Boulevard, Tallahassee, Florida 32399-1650.

(2) Every retail gasoline dispenser shall have the octane rating of the gasoline being sold therefrom conspicuously and firmly posted in a manner conforming with 16 Code of Federal Regulations Part 306 (1-1-93 Edition) which is hereby adopted by reference. Copies of this publication may be obtained from the Superintendent of Documents, U.S. Government Printing Office, Washington, D.C. 20402.

(3) Every retail gasoline dispenser shall have the grade designation of the gasoline being sold therefrom conspicuously and firmly attached thereto. The octane rating of gasoline sold using the following grade designations must meet the minimum octane rating indicated:

| Grade Designation | Minimum Octane Rating |
| --- | --- |
| Premium, Super, Supreme, High Test | 91 |
| Midgrade, Plus | 89 |
| Regular, Unleaded | 87 |

(4) All racing gasoline or gasoline designed for special use that is kept, offered, or exposed for sale, or sold at retail that does not meet standards established in subsection 5F-2.001(1), F.A.C.:

(a) May not be advertised or represented, in writing or orally, to be suitable for use in ordinary motor vehicles or boat motors,

(b) Shall be accompanied by a conspicuous sign on the dispenser stating that the product does not meet gasoline specifications.

(5) Every retail kerosene dispenser or container-package of kerosene offered for sale at retail shall be conspicuously labeled “kerosene” immediately followed by the designation: 1-K or 2-K, whichever is applicable.

(6) Beginning June 1, 2006, every retail diesel fuel dispenser shall have the proper grade designation to indicate the sulfur content of the diesel fuel being sold therefrom conspicuously and firmly attached thereto. Lettering must be in block letters of no less than 24-point bold type and printed in a color contrasting the background.  The label shall be placed on the vertical surface of each dispenser housing on each side that has measure and price meters.  The label shall be on the upper two-thirds of the dispenser and clearly visible to anyone dispensing fuel from the dispenser. The label shall include all of the following text relating to the grade of diesel fuel sold through the dispenser:

(a) For all ultra-low sulfur highway diesel fuel:

ULTRA-LOW SULFUR HIGHWAY DIESEL FUEL (15 ppm Sulfur Maximum)

Required for use in all model year 2007 and later highway diesel vehicles and engines.

Recommended for use in all diesel vehicles and engines.

(b) For all low sulfur highway diesel fuel:

LOW SULFUR HIGHWAY DIESEL FUEL (500 ppm Sulfur Maximum)

WARNING-- Federal law prohibits use in model year 2007 and later highway vehicles and engines.  Its use may damage these vehicles and engines.

(c) For all non-highway diesel fuel:

NON-HIGHWAY DIESEL FUEL (may exceed 500 ppm Sulfur, but not more than 5,000 ppm Sulfur)

WARNING-- Federal law prohibits use in highway vehicles and engines.  Its use may damage these vehicles and engines.

(7) All gasoline kept, offered, or exposed for sale, or sold, at retail, containing at least one percent but no more than 10% by volume of ethanol, methanol, or a combination shall be identified as “contains 10% or less or 1-10% ethanol,” “contains 10% or less or 1-10% methanol,” or “contains 10% or less or 1-10% ethanol/methanol” on the upper fifty percent of the dispenser front panel in a position clear and conspicuous from the driver’s position, in a type at least 1/2 inch in height and 1/16 inch stroke (width of type).

(8) All alternative fuel kept, offered, or exposed for sale, or sold, at retail that contains more than 10% ethanol, methanol or other alcohol shall be identified by a name indicating the amount and type(s) of ethanol, methanol or other alcohol in the fuel and shall be labeled as such on the vertical surface of each dispenser housing on each side that has measure and price meters with a sign clearly visible and located on the upper fifty percent of the dispenser front panel in a type at least 1/2 inch in height and 1/16 inch stroke (width of type).

(a) Ethanol mixed with gasoline and containing an ethanol content of nominally 75%-85% shall be identified as “E85 Fuel Ethanol.”

(b) Methanol mixed with gasoline and containing a methanol content of nominally 80%-85% shall be identified as “M85 Fuel Methanol.”

(9) All biodiesel or biodiesel blends kept, offered, or exposed for sale, or sold, at retail that contain more than 5% biodiesel shall be identified as “Biodiesel Blend (BXX),” where XX represents the volume percent biodiesel in the biodiesel blend, and shall be labeled as such on the vertical surface of each dispenser housing on each side that has measure and price meters with a sign clearly visible and located on the upper fifty percent of the dispenser front panel in a type at least 1/2 inch in height and 1/16 inch stroke (width of type). Every biodiesel or biodiesel blend dispenser dispensing fuel with a biodiesel percentage greater than 5% shall contain a label on the vertical surface of each dispenser housing on each side that has measure and price meters and located on the upper fifty percent of the dispenser front panel in a type at least 1/2 inch in height and 1/16 inch stroke (width of type) that reads as follows:

THIS PRODUCT CONTAINS BIODIESEL. CONSULT WITH YOUR ENGINE

MANUFACTURER OR OWNER’S MANUAL BEFORE USING THIS PRODUCT.

(10) Any other alternative fuel as defined by this section shall be labeled clearly and unambiguously on the vertical surface of each dispenser housing on each side that has measure and price meters with a sign clearly visible and located on the upper fifty percent of the dispenser front panel in a type at least 1/2 inch in height and 1/16 inch stroke (width of type).

Specific Authority 525.14, 526.09 FS. Law Implemented 525.01, 525.035, 525.14, 526.01(1), (3) FS. History–Amended 12-31-74, 2-13-80, 5-3-83, 4-22-85, Formerly 5F-2.03, Amended 11-28-89, 1-24-93, 11-24-94, 6-1-06.