5F-11.027 Approval of Liquefied Petroleum Gas Containers.

Liquefied petroleum gas containers shall be considered approved when designed, fabricated, tested, and marked (or stamped) in accordance with the requirements of Section 5.2, NFPA 58.

Specific Authority 527.06 FS. Law Implemented 527.06 FS. History–New 6-5-97, Amended 1-29-06.