- 5L-1.017 Depuration – Process Water Treatment Standards.

(1) All controlled processes require quality tests to determine if standards are being met and if controls are effective. The treatment of shellfish is a controlled process designed to reduce bacterial contamination to an acceptable level, as defined in subsection 5L-1.004(6), F.A.C., for depuration, or in the case of wet storage, enhance the product quality without degradation of market standards as defined in Rule 5L-1.004, F.A.C. To insure the continuing effectiveness of the shellfish treatment process, the minimum sampling procedure as described below shall be followed.

(2) Incoming seawater.

(a) Type of test – temperature, turbidity, salinity, dissolved oxygen.

(b) Frequency – each time seawater is withdrawn.

(3) Effluent from UV light treatment unit.

(a) Type of test – bacteriological.

(b) Frequency – once per day per unit.

(4) Bacteriological – All water to be used in shellfish treatment tanks shall be subjected to UV light treatment. The water discharged from the UV unit shall be of bacterial quality equal to or better than the quality of water required in the U.S.P.H.S. Drinking Water Standards, as stated in the NSSP Model Ordinance.

(5) Dissolved oxygen – The amount of dissolved oxygen in the water in the treatment tanks shall be at least 5 mg/l and shall be measured daily.

(6) Temperature – Treatment tank water temperature shall be measured daily during the treatment process. Temperature of seawater used in the treatment process shall be suitable for depuration.

(7) Turbidity – Turbidity in the treatment process water shall not exceed 20 N.T.U. (Nephelos Turbidity Units) and shall be measured daily.

(8) Salinity – Salinity of the treatment process water shall be suitable for depuration and shall be measured daily.

(9) pH – pH of the treatment process water shall range from greater than or equal to 7.0 to less than or equal to 8.4 and shall be measured daily.

(10) Metallic ions and compounds – Levels of metallic ions and compounds shall not exceed levels found in approved shellfish harvesting areas and shall be measured if required by the Department.

(11) Pesticides, detergents, and radionuclides – Levels of pesticides, detergents, and radionuclides shall not exceed levels found in approved shellfish harvesting areas and shall be measured if required by the Department.

(12) Marine toxins (Gymnodinium breve) – Levels of Gymnodinium breve in the incoming seawater and in the source water shall not exceed 1,000 cells/liter. Estuarine and/or marine waters adjacent to the source waters with salinities of at least 26 parts per thousand shall also be examined for the presence of Gymnodinium breve. Only Department personnel, or personnel approved by the Department, shall determine levels of Gymnodinium breve.

The following table provides a summary of the depuration treatment process water standards:

Table 1. DEPURATION TREATMENT PROCESS WATER STANDARDS

| Parameter | Minimum | Maximum |  |
| --- | --- | --- | --- |
| Bacteriological | 0 | Less than 1 |  |
| Dissolved Oxygen (Milligrams/liter) | 5.0 | Saturation |  |
| Temperature | Suitable | Suitable |  |
| Turbidity (Nephelos Turbidity Units) | 0 | 20 units |  |
| Salinity | Suitable | Suitable |  |
| pH | 7.0 | 8.4 |  |
| Metallic Ions and Compounds | Not exceeding levels found in approved shellfish harvesting areas. |  |  |
| Pesticides, Detergents and Radionuclides | Not exceeding levels found in approved shellfish harvesting areas. |  |  |
| Marine Toxins (Gymnodinium breve) | 0 cells/liter | 1,000 cells/liter |  |

Rulemaking Authority 597.020 FS. Law Implemented 597.020 FS. History–New 1-4-87, Amended 8-10-88, Formerly 16R-7.024, Amended 7-3-95, 5-8-96, 2-6-97, Formerly 62R-7.024, Amended 8-9-00.