- 61-39.002 Definitions.

For the purpose of this chapter, the following words, unless the context does not permit such meaning, shall have the meanings indicated:

(1) Confirmed rating – energy rating performed on an actual building with data gathered from an on-site inspection of the physical building, not just data from plans or construction documents.

(2) Department – the Department of Business and Professional Regulation.

(3) Exempt Building – all buildings as defined by Sections 553.902(1)(a), (b), (c), and (d), F.S.

(4) Improvement analysis – written calculation of the cost-effectiveness of various options to improve the energy efficiency of a building, including an explicit report on the assumed financing rate and lives of the measures used in the calculation and consideration of interactions between energy-saving measures.

(5) Mixed Occupancies – buildings consisting of more than one type of occupancy.

(6) New Residential Building – new residential occupancy buildings, including new residential occupancy dwellings in mixed occupancy buildings, permitted for construction after July 1, 1994.

(7) New Public Building – a new building comfort-conditioned for occupancy that is owned or leased by the state, a state agency, or a governmental subdivision including, but not limited to, a city, county, or school district, permitted for construction after July 1, 1994.

(8) Rating System – a uniform scale of the relative energy use of buildings based on annual energy usage and costs with consideration of local climate conditions, construction practices and building use.

(9) Rater – a person trained and certified by the Department to apply the Rating System to Florida buildings.

(10) Contract for Sale – an agreement in writing made by an owner of real property for the sale of that real property to a buyer.

(11) Contract to Build – an agreement in writing made by a builder with the owner or purchaser of real property for the construction of a building on that real property.

(12) New Commercial Building – new commercial occupancy buildings, including new commercial buildings in mixed occupancy buildings, permitted for construction after the effective date of this rule.

(13) Existing Commercial Building – a completed commercial occupancy building, including existing commercial buildings in mixed occupancy buildings for which a certificate of occupancy, or equivalent approval for occupancy, has been issued.

(14) Existing Residential Building – a completed residential occupancy building, including residential occupancy dwellings in mixed occupancy buildings for which a certificate of occupancy, or equivalent approval for occupancy, has been issued.

(15) Energy Audit – a site inventory and descriptive record of features impacting the energy use in a building. This includes, but is not limited to: all building component descriptions (locations, areas, orientations, construction attributes and energy transfer characteristics); all energy using equipment and appliance descriptions (use, make, model, capacity, efficiency and fuel type); and all energy features.

(16) Performance Test – site measurement of the energy performance of a building energy feature or an energy using device conducted in accordance with pre-defined testing and measurement protocols and analysis and computation methods. Such protocols and methods may be defined by national consensus standards like those of the American Society of Heating, Refrigerating and Air Conditioning Engineers (ASHRAE) and the American Society for Test and Measurement (ASTM), or as modified or defined and adopted by the Department.

(17) Rating Class for Residential Buildings – the category of an energy rating, based on the source of the input data which are used by the Florida Building Energy Rating System to compute the energy and cost estimates of the energy rating, and consisting of the following three classes:

(a) Class 1 Rating – a confirmed energy rating, conducted in accordance with Chapter 61-39, F.A.C., using site energy audit and performance test data as the sources for the input data on which the rating is based.

(b) Class 2 Rating – a confirmed energy rating, conducted in accordance with Chapter 61-39, F.A.C., using site energy audit data as the source for the input data on which the rating is based.

(c) Class 3 Rating – a projected energy rating, reserved for new buildings and clearly labeled as “projected rating based on plans” that is conducted in accordance with Chapter 61-39, F.A.C., using plans and construction documents as the sources for the input data on which the rating is based.

(18) Registered Rating – a Florida Building Energy Rating for a specifically located building that has been compiled by a certified Florida Rater of any Class, has been found to be complete and accurate, and has been recorded with the Program Administrator.

(19) Projected Rating – A rating performed prior to the construction of a new building or prior to implementation of energy-efficiency improvements to an existing building.

(20) HERS Rating – An audit and computer-generated performance evaluation of a home conducted in accordance with Rule 61-39.004, F.A.C., of this chapter and resulting in a HERS Index.

(21) HERS Index – The numerical rating for a home with a value between 0 and 100 where a value of 0 indicates that the home uses no purchased energy for heating, cooling, hot water, lighting and applicances, and a value of 100 indicates that the home has the same energy use for heating, cooling, hot water, lighting and appliances as the HERS Reference Home established by the 2006 Mortgage Industry National Home Energy Rating Systems Standards, amended July 22, 2009.

(22) Program Administrator – means a public or private entity that is qualified to perform the training and support functions of the Florida Building Energy Rating System and that is authorized by the Department to perform such functions.

Rulemaking Authority 553.992 FS. Law Implemented 553.992, 553.995 FS. History–New 7-1-94, Amended 1-11-95, 12-27-98, 11-28-04, 7-27-10, Formerly 9B-60.002