6C7-8.003 Solar Collector Certification.

The Center will provide a Label of Certification to the Seller of a collector model which has met the standards of FSEC-GP-5-80 and for which there are acceptable thermal performance test results, subject to compliance with the provisions of FSEC-GP-6-80. Contents of the label of certification will include but not be limited to:

(1) Certification that the collector meets the minimum standards of the Center.

(2) A collector thermal performance rating or ratings calculated by the method of FSEC-GP-6-80.

(3) A measure of the collector’s gross area.

(a) As a condition for displaying a label of certification on a collector, the Seller must abide by the conditions of the Solar Collector Labeling Agreement, FSEC-GP-6-80.

(b) The contents and format of the Label of Certification may be revised as deemed necessary by the Center.

Specific Authority 120.53(1)(a), 240.227(1), 377.705(4)(d), 240.209(4) FS., 6C-12.001, F.A.C. Law Implemented 377.705(4)(d), 240.277(1), 240.279, 240.281, 240.209(3)(m), (4), (5)(c) FS. History–Formerly 6C-12.03, Renumbered 1-3-85, Formerly 6C7-8.03.