- 62-303.350 Assessments of Numeric Interpretations of Narrative Nutrient Criteria.

(1) The nutrient impairment thresholds identified in Rules 62-303.351 through 62-303.354, F.A.C., shall be the primary means for assessing whether a water should be assessed further for nutrient impairment. Other information indicating an imbalance in flora or fauna due to nutrient enrichment, such as algal blooms or mats, excessive nuisance macrophyte growth, decrease in the distribution (either in density or areal coverage) of seagrasses or other submerged aquatic vegetation, adverse changes in algal species composition, and excessive diel oxygen swings, shall also be considered for placing waters on the planning list.

(2) To be used to determine whether a waterbody should be assessed further for nutrient enrichment,

(a) Data must meet the requirements of subsections (2)-(4), (7), and (8) in Rule 62-303.320, F.A.C.;

(b) To calculate an annual geometric mean for TN, TP or chlorophyll a, there shall be at least four temporally-independent samples per year with at least one sample collected between May 1 and September 30 and at least one sample collected during the other months of the calendar year. To be treated as temporally-independent, samples must be collected at least one week apart; and

(c) To be assessed under this Chapter, except for data used to establish historical chlorophyll a levels, chlorophyll a data shall be determined using Department-approved methods as measured according to the DEP document titled, “Applicability of Chlorophyll a Methods” (DEP-SAS-002/10), dated October 24, 2011, incorporated by reference herein. Copies of the chlorophyll a document may be obtained from the Department’s internet site at http://www.dep.state.fl.us/water/wqssp/swq-docs.htm or by writing to the Florida Department of Environmental Protection, Standards and Assessment Section, 2600 Blair Stone Road, MS 6511, Tallahassee, FL 32399-2400. Chlorophyll a data shall be corrected for or free from the interference of pheophytin.

Rulemaking Authority 403.061, 403.067 FS. Law Implemented 403.062, 403.067 FS. History–New 6-10-02, Amended 12-11-06, 7-2-12.