Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

NOTICE IS HEREBY GIVEN that on November 29, 2005, Bureau of Elevator Safety issued an Order Granting Variance Request in response to a petition filed September 30, 2005 and advertised in FAW Vol. 31, No. 42, by Steve Powell of KONE, Inc. regarding Best Western Auburndale (VW 2005-145). The variance granted a waiver from Rules 100.3a, 101.6, of ASME A17.1, 1996 Edition with 1997 Addenda and 2.29.2 of ASME A17.2, 1996 Edition, as adopted by Rule 61C-5.001, F.A.C. The petitioner had requested to not have a machine room and to install a Monospace© Elevator System in the above project and the petition was granted as the petitioner demonstrated that this new technology provided an equivalent or greater level of safety.

A copy of the Order can be obtained from: Agency Clerk, Department of Business and Professional Regulation, 1940 North Monroe Street, Tallahassee, Florida 32399-2202.