Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Division of Hotels and Restaurants

RULE NO.: RULE TITLE:
61C-5.001: Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice on August 10, 2012, the Department issued a Final Order that was in response to a Petition for Variance from Plaza 300 Associates LLC, filed April 18, 2012 and advertised in Vol. 38, No. 18 of the Florida Administrative Weekly. No comments were received in response to the petition. The Final Order on the Petition for Variance denies the Petitioner a variance from Rule 3.11.3, 3.3.2, and 2.7.4 ASME A17.3, 1996 edition, as adopted by subsection 61C-5.001(1), Florida Administrative Code, that requires upgrading the elevators for firefighters’ emergency operations, platform guards (aprons), and door restrictors because Petitioner states that door restrictors and car aprons would trigger additional upgrades, which is not true. Petitioner has not demonstrated that the purpose of the statute underlying the rule will be met or that Petitioner would suffer a substantial hardship if required to comply with this rule (VW 2012-119).

A copy of the Order may be obtained by contacting: Mark Boutin, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013, (850)488-1133.

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice on August 10, 2012, the Department issued a Final Order that was in response to a Petition for Variance from Dohring Group, filed June 19, 2012, and advertised in Vol. 38, No. 26 of the Florida Administrative Weekly. No comments were received in response to the petition. The Final Order on the Petition for Variance denies the Petitioner a variance from Rule 3.3.2, ASME A17.3, 1996 edition, as adopted by subsection 61C-5.001(1), Florida Administrative Code, that requires upgrading the elevators platform guards because the existing guard is the maximum 21'' reasonable length and the Petitioner has not demonstrated that the purpose of the statute underlying the rule will be met or that Petitioner would suffer a substantial hardship if required to comply with this rule (VW 2012-196).

A copy of the Order may be obtained by contacting: Mark Boutin, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013, (850)488-1133.