Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Florida Building Commission

RULE NO.: RULE TITLE:
61G20-1.001: Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by John C. Thomas, President/CEO of Pinch a Penny on May 4, 2012. The following is a summary of the agency's disposition of the petition:

The petition was granted, and in response to petitioner's questions the answers provide that replacing a swimming pool pump may be either a repair or an alteration and replacing the pump's motor with a like motor is classified as a repair per Chapter 5 of the Code.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Agency Clerk’s Office, Department of Business and Professional Regulation, 1940 North Monroe Street, Suite 92, Tallahassee, Florida 32399-2203.

Please refer all comments to: April L. Hammonds, Office of the General Counsel, Department of Business and Professional Regulation, 1940 North Monroe Street, Tallahassee, Florida 32399-1000.