Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Florida Building Commission

RULE NO.: RULE TITLE:
61G20-1.001: Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by Arnoldo A. Artiles, P.E., of Kimley-Horn and Associates on April 11, 2012. The following is a summary of the agency’s disposition of the petition:

The petition was granted, and in response to petitioner’s questions the answers are that under ASCE7-10 the project at issue falls under Risk Category III, under Table 1604.5, Florida Building Code, Building (2010) the project at issue falls under Risk Category II, and pursuant to Section 102.4, Florida Building Code, Building (2010), the project at issue falls under Risk Category II.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Agency Clerk’s Office, Department of Business and Professional Regulation, 1940 North Monroe Street, Suite 92, Tallahassee, Florida 32399-2203.

Please refer all comments to: April L. Hammonds, Office of the General Counsel, Department of Business and Professional Regulation, 1940 North Monroe Street, Tallahassee, Florida 32399-1000.