9B-72.040 Product Evaluation and Quality Assurance for Local Approval.

(1) Compliance of products listed in subsections 9B-72.060(1)-(8), F.A.C., shall be demonstrated through the appropriate method of subsection 9B-72.040(2) or (3), F.A.C., except:

(a) Structural components covered by United States Department of Commerce Product Standards; and

(b) Structural components comprised of materials or products that are assembled or placed in the field and are subject to standardized field testing procedures contained within nationally recognized standards adopted within the Code may demonstrate compliance by a batch ticket or bill of lading made available at the site of assembly or placement.

(2) Method 1. Products, materials or system of construction specifically addressed in the code through performance criteria and standardized testing or comparative or rational analysis methods shall demonstrate compliance with the Code through one of the following:

(a) A certification mark or listing from an approved certification agency indicating the product is in compliance with a specific standard or other normative document referenced in the Code.

(b) A test report from an approved testing laboratory, which identifies which products are covered by the test report and provides verifiable documentation indicating the product tested complies with the standards referenced in the Code.

(c) An evaluation report from an approved product evaluation entity that covers the subject product and, based upon testing or comparative or rational analysis, or a combination thereof, indicates that the product was evaluated to be in compliance with the Code and that the product is, for the purpose intended, at least equivalent to that required by the Code.

(d) An evaluation report from a Florida Registered Architect or a Florida Professional Engineer developed and signed and sealed, based upon testing or comparative or rational analysis, or a combination thereof which provides verifiable documentation indicating the product was evaluated to be in compliance with the Code and that the product is, for the purpose intended, at least equivalent to that required by the Code.

(3) Method 2. Products for which there are no specific standardized tests or comparative or rational analysis methods of evaluation established as required by the Code shall demonstrate compliance with the intent of the Code through one of the following:

(a) An evaluation report from an approved product evaluation entity that covers the subject product based on testing or comparative or rational analysis, or combination thereof, which provides verifiable documentation indicating the product was evaluated to be in compliance with the intent of the Code and the product is, for the purpose intended, at least equivalent to that required by the Code.

(b) An evaluation report from a Florida Registered Architect or a Florida Professional Engineer developed and signed and sealed, based upon testing or comparative or rational analysis, or combination thereof which provides verifiable documentation indicating the product was evaluated to be in compliance with the Code and that the product is, for the purpose intended, at least equivalent to that required by the Code.

(4) Products listed in subsections 9B-72.060(1)-(8), F.A.C., shall be manufactured under a quality assurance program audited by an approved quality assurance entity.

(5) Evaluation Report Documentation Requirements. All evaluation reports required in paragraphs 9B-72.040(2)(c) and (d) and (3)(a) and (b), F.A.C., shall contain the information listed below. Design drawings submitted for permitting purposes are not an evaluation report and do not require this information.

(a) Name and address of the manufacturer, and the approved evaluation entity or approved testing laboratory.

(b) Statement of compliance with the appropriate section or standard of the Code.

(c) Description of the product, construction method or building system.

(d) Technical documentation supporting the compliance statement.

(e) Installation requirements.

(f) Limitations and conditions of use.

(g) Certification of independence in conformance with Rule 9B-72.110, F.A.C.

(h) Name, title and signature of person authorized to sign on behalf of entity or signature, registration number and seal in the case of architects and engineers.

(6) The following information shall be provided in a listing or on a label for products submitted for approval from certification agencies.

(a) Name and address of manufacturer and certification agency.

(b) Manufacturer’s product model number or identifier and product description.

(c) Indication of the standard the product was tested to.

(d) Performance level of the product and conditions or limitations of use.

Specific Authority 553.842(1) FS. Law Implemented 553.842(5), (6), (8) FS. History–New 5-5-02, Amended 9-4-03.