9B-72.090 Product Approval by the Commission.

(1) Approval of a product, material or system of construction for statewide acceptance shall be performed by the Commission through the following steps:

(a) A product manufacturer or owner of a proprietary system or method of construction, or its designee (applicant) shall apply to the Commission for approval by filing an application in accordance with subsection 9B-72.130(2), F.A.C., validated in accordance with Rule 9B-72.080, F.A.C., and submitting fees pursuant to subsection 9B-72.090(2), F.A.C. Application shall be made through the Building Codes Information System on the Internet and payment shall be by credit card.

(b) The applicant submits all documentation required and fees in accordance with Rule 9B-72.070 and subsection 9B-72.090(2), F.A.C., respectively.

(c) Upon Commission acceptance of the required documentation pursuant to Rule 9B-72.070, F.A.C., and validation entity’s certification of compliance with the Code pursuant to Rule 9B-72.080, F.A.C., a Florida Certificate of Product Approval shall be issued by the Commission indicating the product has been approved for use statewide in accordance with its approval and limitations of use.

(d) Approval shall be valid until such time as the product changes decreasing the product’s performance, the standards or provisions of the Code affecting the product change, or the approval is otherwise suspended or revoked. Changes to the Code shall not be construed as voiding the approval of products previously installed in existing buildings provided such products met building code requirements at the time the product was installed.

(e) Product approval is void if the manufacturer fails to renew as required in paragraph 9B-72.090(2)(a), F.A.C.

(f) Manufacturer or the manufacturer’s designee shall notify the Commission if it makes changes to the product which decrease the product’s performance.

(g) Manufacturer shall notify the Commission when the quality assurance requirements of subsection 9B-72.070(3), F.A.C., are no longer in place.

(2) Fees for optional statewide approval of products.

(a) Fee for approval, Three Hundred Dollars ($300.00) per sub category of product with renewal every two years. Renewal fee shall be $50.00. The Commission shall review annually and adjust fees accordingly;

(b) Fee for reinstatement after suspension, Fifty Dollars ($50.00) per product, plus billable staff hours at Fifty Dollars ($50.00) per hour, plus consultant fees;

(c) Fees for approval of evaluation entities, certification agencies, testing laboratories and validation entities; for first time approval, Five Hundred Dollars ($500.00), annual renewal fee, One Hundred Dollars ($100.00).

(3) Applications shall be made through the Building Codes Information System on the Internet and payment shall be by credit card.

Specific Authority 553.77(1)(i), 553.842(1) FS. Law Implemented 553.842(1) FS. History–New 5-5-02, Amended 9-4-03.