Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

NOTICE IS HEREBY GIVEN that on December 19, 2005, Bureau of Elevator Safety issued an Order Granting Emergency Variance Request in response to a petition filed on November 18, 2005, by Rodney Friedman of Master Elevator Sales & Service, Inc., regarding the Remington Place Apts. The petition sought a waiver from Rule 106.1(d)(2), ASME A17.1, 1996 Edition with 1997 addenda, as adopted by Rule 61C-5.001, F.A.C., and requested to not install a pit ladder. The petition was granted because the physical layout of the elevator and pit makes the safe installation of a fixed ladder impossible.

A copy of the Order can be obtained from: Agency Clerk, Department of Business and Professional Regulation, 1940 North Monroe Street, Tallahassee, Florida 32399-2202.