9B-74.030 Plans Review and Approval.

(1) The proposed plans shall be reviewed by the plans examiner for compliance with the Florida Building Code and the Florida Fire Prevention Code as adopted by the State Fire Marshal.

(2) The plans review time frame shall be established by the Commission and shall be in accordance with Chapter 120, F.S.

(3) Plans review procedure shall, at a minimum, be in accordance with the plans review criteria of the Florida Building Code and shall provide for the plans examiner’s name and license number.

(4) The prototype plans shall be subjected to a new plans review process when the Florida Building Code is amended.

(5) The Commission shall be the authority having jurisdiction to approve plans for compliance with the Florida Building Code and coordinate with the State Fire Marshal for approval for compliance with the Fire Prevention Code. Delegation of the authority to the Administrator shall be by action of the Commission.

(6) Use of alternate design features shall be acceptable if the applicant indexes the alternate design features on the first sheet of the plans.

(7) Buildings subject to approval through this program shall be limited to those buildings not exceeding three stories in height or 300,000 square feet in area.

Specific Authority 553.77(5) FS. Law Implemented 553.77(5) FS. History–New 5-2-02, Amended 1-20-03.