Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Division of Hotels and Restaurants

RULE NO.: RULE TITLE:
61C-5.001: Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice: 
On November 28, 2012 the Division issued an order. The Final Order was in response to a Petition for a Variance from University of Central Florida, Academic Village II, filed November 8, 2012, and advertised on November 15, 2012 in Vol. 38, No. 72, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a variance from Rule 2.18.5.1, 2.20.4, and 2.24.2.1, ASME A17.1b, 2009 edition, as adopted by Chapter 30, Section 3001.2 Florida Building Code adopted by Rule 61C-5.001(1) Florida Administrative Code from the requirement of the use of a 9.5 mm steel rope and requirement of a metallic sheave because the Petitioner has demonstrated that the purpose of the statute underlying the rule will be met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2012-359).
A copy of the Order or additional information may be obtained by contacting: Mark Boutin, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013.