- 40D-3.041 Permits Required.

(1) Unless expressly exempted by statute or District rule, a permit must be obtained from the District prior to construction, repair, modification or abandonment of any water well, including:

(a) Water wells not in areas delineated pursuant to Chapter 62-524, F.A.C.

(b) Potable water wells in areas delineated pursuant to Chapter 62-524, F.A.C.

(c) Non-potable water wells in areas delineated pursuant to Chapter 62-524, F.A.C.

(d) Dewatering wells for construction, mining or quarrying purposes that will be in existence for 6 months or longer.

(e) Public supply water wells.

(f) Monitor wells.

(g) Injection wells identified as Class V, Group 1, pursuant to paragraph 62-528.600(2)(a), F.A.C., effective 11-20-2002, incorporated herein by reference http://www.flrules.org/Gateway/reference.asp?No=Ref-02252.

(h) Abandoned wells.

(i) Incomplete wells.

(2) The permit shall be available at the well site during construction, repair, modification or abandonment.

Rulemaking Authority 373.044, 373.113, 373.171, 373.309, 373.337 FS. Law Implemented 373.106, 373.306, 373.308, 373.309, 373.313, 373.316 FS. History–New 10-5-74, Amended 12-31-74, 12-1-77, 2-4-79, 11-8-82, Formerly 16J-3.06(2)-(5), 16J-3.10, Amended 7-1-90, 9-30-91, 12-31-92, 2-7-13.