- 61G4-15.035 Certification of Irrigation Specialty Contractors.

(1) The purpose of this rule is to provide for the voluntary certification of irrigation specialty contractors.

(2) Definition. An irrigation specialty contractor is a contractor whose contracting business consists of the execution of contracts requiring the experience, financial means, knowledge, and skill to install, maintain, repair, alter, extend, manage, monitor, audit, or, if not prohibited by law, design irrigation systems. An irrigation specialty contractor may install, maintain, repair, alter, extend, manage, monitor, audit, or, if not prohibited by law, design irrigation systems, including any excavation work incidental thereto. An irrigation system includes all: piping; fittings; sprinklers; drip irrigation products; valves; irrigation controllers; control wiring; rain sensors; water pumps; water conservation devices; water harvesting systems; irrigation main lines downstream of a utility potable water meter or utility alternative water supply distribution line and dedicated backflow prevention device; and associated components installed for the delivery and application of water for the purpose of irrigation. Nothing in this rule shall be deemed to restrict or limit in any manner the scope of work authorized by law of other contractor classifications.

(3) Certification Procedures and Fees. Certification procedures and fees for Irrigation Specialty Contractors shall be the same as those provided for the certification of other contractors as set forth in Sections 489.109, 489.111, 489.113, 489.114, 489.115 and 489.116, F.S., and related rules.

(4) Irrigation systems used for agricultural purposes shall not be included within the scope of this rule.

Rulemaking Authority 489.108 FS. Law Implemented 489.105(3)(q), 489.113(6) FS. History–New 2-13-13.