Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Division of Hotels and Restaurants

RULE NO.: RULE TITLE:
61C-5.001: Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice: 
On February 13, 2013, the Department issued a Final Order that was in response to a Petition for Variance from La Coquille Villas, filed December 11, 2012, and advertised on December 19, 2012 in Vol. 38, No. 94, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance denies the Petitioner a variance from Rule 61C-5.025, Florida Administrative Code, as adopted by Chapter 30, Section 3001.2 Florida Building Code adopted by paragraph 61C-5.001(1)(a), Florida Administrative Code that requires upgrading the elevators Hydraulic supply shut-off valves because the Petitioner has not demonstrated that the purpose of the rule will be met or that Petitioner would suffer a substantial hardship if required to comply with this rule (VW 2012-405).
A copy of the Order or additional information may be obtained by contacting: Mark Boutin, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013, (850)488-1133.