- 62-304.520 Indian River Lagoon TMDLs.

(1) Fecal Coliform TMDL for Crane Creek. The Total Maximum Daily Load is an annual median of 1.23 x 1011 colonies/day and is allocated as follows:

(a) The Wasteload Allocation for the Melbourne/Grant Street Wastewater Treatment Facility is 1.21 x 1010 colonies/day. The Wasteload Allocation is only allowed during the maximum five-day Mechanical Integrity Test period, as defined in the Department permit,

(b) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1999 through 2007 period, will require a 56 percent reduction at sources contributing to exceedances of the criteria,

(c) The Load Allocation for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1999 through 2007 period, will require a 56 percent reduction at sources contributing to exceedances of the criteria,

(d) The Margin of Safety is implicit,

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(2) Fecal Coliform TMDL for Eau Gallie River. The Total Maximum Daily Load for Fecal Coliforms for Eau Gallie River is 400 counts/100 ml and is allocated as follows:

(a) A Wasteload Allocation for wastewater point sources is not applicable,

(b) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1999 through 2007 period, will require an 81 percent reduction at sources contributing to exceedances of the criteria,

(c) The Load Allocation for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1999 through 2007 period, will require an 81 percent reduction at sources contributing to exceedances of the criteria,

(d) The Margin of Safety is implicit,

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background condition.

(3) Indian River above Max Brewer Causeway: The Total Maximum Daily Loads (TMDLs) for the Indian River above Max Brewer Causeway are 177,220 lb/year of total nitrogen and 9,320 lb/year of total phosphorus, and are allocated as follows:

(a) The Wasteload Allocation (WLA) for wastewater sources is not applicable,

(b) The combined rainfall-driven nutrient loads of 177,220 lb/year of total nitrogen and 9,320 lb/year of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005), to be allocated as follows:

1. WLAs for discharges subject to the Department’s National Pollutant Discharge Elimination System (NPDES) Municipal Stormwater Permitting Program are a 35% reduction of total nitrogen and a 47% reduction of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005).

2. The LAs for nonpoint sources are a 35% reduction of total nitrogen and a 47% reduction of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005).

(c) The Margin of Safety is implicit. Not including the direct atmospheric deposition in the calculation makes the estimation of needed percent reduction more stringent and therefore adds to the margin of safety.

(4) Indian River above NASA Causeway: The TMDLs for the Indian River above NASA Causeway are 173,232 lb/year of total nitrogen and 14,793 lb/year of total phosphorus, and are allocated as follows:

(a) The WLA for wastewater sources is not applicable,

(b) The combined rainfall-driven nutrient loads of 173,232 lb/year of total nitrogen and 14,793 lb/year of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005), to be allocated as follows:

1. WLAs for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program are a 35% reduction of total nitrogen and a 47% reduction of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005).

2. The LAs for nonpoint sources are a 35% reduction of total nitrogen and a 47% reduction of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005).

(c) The Margin of Safety is implicit. Not including the direct atmospheric deposition in the calculation makes the estimation of needed percent reduction more stringent and therefore adds to the margin of safety.

(5) Indian River above 520 Causeway: The TMDLs for the Indian River above 520 Causeway are 147,524 lb/year of total nitrogen and 11,845 lb/year of total phosphorus, and are allocated as follows:

(a) The WLA for wastewater sources are 8,151 lb/year of total nitrogen and 1,589 lb/year of total phosphorus. The WLAs are granted to Cocoa Water Reclamation Facility (5,556 lb/year of total nitrogen and 1,423 lb/year of total phosphorus), FP & L Cape Canaveral Plant (2,555 lb/year of total nitrogen and 146 lb/year of total phosphorus), and Reliant Energy-Indian River Plant (40 lb/year total nitrogen and 20 lb/year of total phosphorus).

(b) The combined rainfall-driven nutrient loads of 139,373 lb/year of total nitrogen and 10,256 lb/year of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005), to be allocated as follows:

1. WLAs for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program are a 36% reduction of total nitrogen and a 53% reduction of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005).

2. The LAs for nonpoint sources are a 36% reduction of total nitrogen and a 53% reduction of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005).

(c) The Margin of Safety is implicit. Not including the direct atmospheric deposition in the calculation makes the estimation of needed percent reduction more stringent and therefore adds to the margin of safety.

(6) Indian River above Melbourne Causeway: The TMDLs for the Indian River above Melbourne Causeway are 189,068 lb/year of total nitrogen and 20,592 lb/year of total phosphorus, and are allocated as follows:

(a) The WLA for wastewater sources are 9,200 lb/year of total nitrogen and 225 lb/year of total phosphorus. The WLAs are granted to Rockledge Wastewater Treatment Facility (30 lb/year of total nitrogen and 30 lb/year of total phosphorus), and Melbourne Reverse Osmosis (9,170 lb/year of total nitrogen and 195 lb/year of total phosphorus).

(b) The combined rainfall-driven nutrient loads of 179,868 lb/year of total nitrogen and 20,367 lb/year of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005), to be allocated as follows:

1. WLAs for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program are a 36% reduction of total nitrogen and a 48% reduction of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005).

2. The LAs for nonpoint sources are a 36% reduction of total nitrogen and a 48% reduction of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005).

(c) The Margin of Safety is implicit. Not including the flushing effects of Sebastian Inlet and the direct atmospheric deposition in the calculation makes the estimation of needed percent reduction more stringent and therefore adds to the margin of safety.

(7) Indian River above Sebastian Inlet and the northern South Indian River: The TMDLs for the Indian River above Sebastian Inlet and the northern South Indian River are 684,715 lb/year of total nitrogen and 111,594 lb/year of total phosphorus, and are allocated as follows:

(a) The WLA for wastewater sources are 831 lb/year of total nitrogen and 122 lb/year of total phosphorus. The WLAs are granted to BCUD/South Beaches Wastewater Treatment Facility (173 lb/year of total nitrogen and 36 lb/year of total phosphorus), Melbourne/Grant Street Wastewater Treatment Facility (182 lb/year of total nitrogen and 8 lb/year of total phosphorus), and Barefoot Bay Advanced Wastewater Treatment Facility (476 lb/year of total nitrogen and 78 lb/year of total phosphorus).

(b) The combined rainfall-driven nutrient loads of 683,884 lb/year of total nitrogen and 111,472 lb/year of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005), to be allocated as follows:

1. WLAs for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program are a 56% reduction of total nitrogen and a 48% reduction of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005).

2. The LAs for nonpoint sources are a 56% reduction of total nitrogen and a 48% reduction of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005).

(c) The Margin of Safety is implicit. Not including the flushing effects of Sebastian Inlet and the direct atmospheric deposition in the calculation makes the estimation of needed percent reduction more stringent and therefore adds to the margin of safety.

(8) Central and southern South Indian River: The TMDLs for the Central and southern South Indian River are 278,273 lb/year of total nitrogen and 53,599 lb/year of total phosphorus, and are allocated as follows:

(a) The WLA for wastewater sources is 25,391 lb/year of total nitrogen and 1,949 lb/year of total phosphorus. The WLAs are granted to Vero Beach Wastewater Treatment Facility (12,173 lb/year of total nitrogen and 916 lb/year of total phosphorus), Vero Beach Demineralization Concentrate (2,985 lb/year of total nitrogen and 487 lb/year of total phosphorus), IRCUD/Hobart Park Demineralization Concentrate (2,759 lb/year of total nitrogen and 96 lb/year of total phosphorus), IRCUD/West Regional Wastewater Treatment Facility (2,838 lb/year of total nitrogen and 159 lb/year of total phosphorus), and IRCUD/South County Reverse Osmosis, Potable Water Treatment Plant (4,636 lb/year of total nitrogen and 291 lb/year of total phosphorus).

(b) The combined rainfall-driven nutrient loads of 252,882 lb/year of total nitrogen and 51,650 lb/year of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005), to be allocated as follows:

1. WLAs for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program are a 56% reduction of total nitrogen and a 48% reduction of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005),

2. The LAs for nonpoint sources are a 56% reduction of total nitrogen and a 48% reduction of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005).

(c) The Margin of Safety is implicit. Not including the flushing effects of Sebastian Inlet and the direct atmospheric deposition in the calculation makes the estimation of needed percent reduction more stringent and therefore adds to the margin of safety.

(9) Banana River above Barge Canal: The TMDLs for the Banana River above Barge Canal are 116,314 lb/year of total nitrogen and 7,825 lb/year of total phosphorus, and are allocated as follows:

(a) The WLA for wastewater sources is 1,214 lb/year of total nitrogen and 302 lb/year of total phosphorus. The WLA is granted to Morton Salt Industrial Wastewater Treatment and Disposal System (1,214 lb/year of total nitrogen and 302 lb/year of total phosphorus).

(b) The combined rainfall-driven nutrient loads of 115,100 lb/year of total nitrogen and 7,523 lb/year of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005), to be allocated as follows:

1. WLAs for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program are a 67% reduction of total nitrogen and a 72% reduction of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005).

2. The LAs for nonpoint sources are a 67% reduction of total nitrogen and a 72% reduction of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005).

(c) The Margin of Safety is implicit. Not including the direct atmospheric deposition in the calculation makes the estimation of needed percent reduction more stringent and therefore adds to the margin of safety.

(10) Banana River below 520 Causeway and Banana River above 520 Causeway: The TMDLs for the Banana River below 520 Causeway and Banana River above 520 Causeway are 144,780 lb/year of total nitrogen and 12,181 lb/year of total phosphorus, and are allocated as follows:

(a) The WLA for wastewater sources is 6,173 lb/year of total nitrogen and 1,221 lb/year of total phosphorus. The WLAs are granted to Cape Canaveral Water Reclamation Facility (2,151 lb/year of total nitrogen and 158 lb/year of total phosphorus), and Cocoa Beach Water Reclamation Facility (4,022 lb/year of total nitrogen and 1,063 lb/year of total phosphorus).

(b) The combined rainfall-driven nutrient loads of 138,607 lb/year of total nitrogen and 10,960 lb/year of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005), to be allocated as follows:

1. WLAs for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program are a 59% reduction of total nitrogen and a 64% reduction of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005).

2. The LAs for nonpoint sources are a 59% reduction of total nitrogen and a 64% reduction of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005).

(c) The Margin of Safety is implicit. Not including the direct atmospheric deposition in the calculation makes the estimation of needed percent reduction more stringent and therefore adds to the margin of safety.

(11) Newfound Harbor: The TMDLs for Newfound Harbor are 30,661 lb/year of total nitrogen and 3,247 lb/year of total phosphorus, and are allocated as follows:

(a) The WLA for wastewater sources is not applicable,

(b) The combined rainfall-driven nutrient loads of 30,661 lb/year of total nitrogen and 3,247 lb/year of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005), to be allocated as follows:

1. WLAs for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program are a 66% reduction of total nitrogen and a 70% reduction of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005).

2. The LAs for nonpoint sources are a 66% reduction of total nitrogen and a 70% reduction of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005).

(c) The Margin of Safety is implicit. Not including the direct atmospheric deposition in the calculation makes the estimation of needed percent reduction more stringent and therefore adds to the margin of safety.

(12) Goat Creek Marine Segment: The nutrient TMDL for the Goat Creek Marine Segment is 18,405 lb/year of total nitrogen and 3,376 lb/year of total phosphorus, and are allocated as follows:

(a) The WLA for wastewater sources is not applicable,

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is not applicable,

(c) The LA for nonpoint sources is a 36% reduction of total nitrogen and no reduction of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005), and

(d) The Margin of Safety is implicit,

(e) While the LA for nutrients have been expressed as the percent reductions needed to attain the applicable Class II criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the restoration of nutrient condition in the impaired waterbody. However, it is not the intent of the TMDL to abate natural background conditions.

(13) Sykes Creek: The nutrient TMDL for Sykes Creek is 30,030 lb/year of total nitrogen and 3,174 lb/year of total phosphorus and is allocated as follows:

(a) The WLA for wastewater sources is not applicable,

(b) WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is a 66% reduction of total nitrogen and a 70% reduction of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005),

(c) The LA for nonpoint sources are a 66% reduction of total nitrogen and a 70% reduction of total phosphorus based on the year 2000 landuse and a 30-year long-term average annual rainfall (1975 through 2005), and

(d) The Margin of Safety is implicit. Not including the direct atmospheric deposition in the calculation makes the estimation of needed percent reduction more stringent and therefore adds to the margin of safety,

(e) While the WLA and LA for nutrients has been expressed as target loadings and the needed percent reductions to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the restoration of nutrient condition in the impaired waterbody. However, it is not the intent of the TMDL to abate natural background conditions.

Rulemaking Authority 403.061, 403.067 FS. Law Implemented 403.061, 403.062, 403.067 FS. History–New 6-3-08, Amended 3-26-09, 4-9-13.