Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Division of Hotels and Restaurants

RULE NO.: RULE TITLE:
61C-5.001: Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice: 
On March 28, 2013, the Department issued a Final Order that was in response to a Petition for Variance from Berkley 6545 & Claridge 6546, filed March 6, 2013, and advertised on March 8, 2013 in Vol. 39, No. 47, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance denies the Petitioner a variance from Rule 3.10.4(t) and 3.3.2 ASME A17.3, 1996 edition, as adopted by Chapter 30, Section 3001.2 Florida Building Code adopted by paragraph 61C-5.001(1)(a), Florida Administrative Code that requires upgrading the elevators stop switch either keyed or behind a locked cover and platform guards because the Petitioner has not demonstrated that the purpose of the rule will be met or that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2013-068).
A copy of the Order or additional information may be obtained by contacting: Mark Boutin, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013, (850)488-1133.