Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Division of Hotels and Restaurants

RULE NO.: RULE TITLE:
61C-5.001: Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice: 
On April 4, 2013 the Division issued an order. The Final Order was in response to a Petition for a temporary variance from Everbank Center, filed February 8, 2013, and advertised on February 14, 2013 in Vol. 39, No. 31, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a variance from Rule 3.11.3 A.S.M.E A17.3 1996 edition as adopted by paragraph 61C-5.001(1)(a), Florida Administrative Code that requires upgrading the elevators fire fighter service operation because the Petitioner has demonstrated that the intent of the rule will be met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2013-042).
A copy of the Order or additional information may be obtained by contacting: Mark Boutin, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013.