Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Florida Building Commission

RULE NO.: RULE TITLE:
61G20-1.001: Florida Building Code Adopted
NOTICE IS HEREBY GIVEN that the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by Robert W. Moody, COO of URETEK Holdings, Inc. on December 26, 2012. The following is a summary of the agency's disposition of the petition: 
The petition was granted, and the Florida Building Commission determined that Section R318.5, Florida Building Code, Residential (2010) does not apply to the installation of a rigid structural geotechnical polymer into the ground as a soil stabilization technique but does fall within the technical scope of the Florida Building Code, Existing Building (2010).
A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Agency Clerk's Office, Department of Business and Professional Regulation, 1940 North Monroe Street, Suite 92, Tallahassee, Florida 32399-2203.
Please refer all comments to: April L. Hammonds, Office of the General Counsel, Department of Business and Professional Regulation, 1940 North Monroe Street, Tallahassee, Florida 32399-1000.