Notice of Variances and Waivers

DEPARTMENT OF ENVIRONMENTAL PROTECTION

RULE NO.: RULE TITLE:
62-604.400: Design/Performance Considerations

NOTICE IS HEREBY GIVEN that on April 23, 2013, the Department of Environmental Protection received a petition for a variance from the City of Cape Coral seeking a variance from Paragraph 62-604.400(2)(a), F.A.C., which would require the installation of an on-site emergency generator for the City’s sewage Lift Stations 527 which is located on Sanoval Blvd. near Sunvale Ct., and generally serves the residential area to the north of that intersection. Petitioner instead requests to be able to use a portable generator. The Petition has been assigned OGC File No. 13-0944. Written comments must be received by the person below no later than 14 days from the date of publication of this notice.
A copy of the Petition for Variance or Waiver may be obtained by contacting: Gary Maier, DEP South District Office, P.O. Box 2549, Fort Myers, FL, 33902-2549; (239)344-5664, gary.maier@dep.state.fl.us.