Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001:	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice:

On May 16, 2013 the Division issued an order. The Final Order was in response to a Petition for a Variance from Surf Dweller Condo, filed May 6, 2013 and advertised on May 8, 2013 in Vol. 39, No. 90, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a variance from Rule 2.27.3.2, and 2.27.3.3.7, ASME A17.1b, 2009 edition, as adopted by Rule 61C-5.001(1)(a) Florida Administrative Code from providing phase 1 emergency recall operations by fire alarm initiating devices and phase 2 emergency in car operation because the Petitioner has demonstrated that the intent of the rule will be met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2013-133).

A copy of the Order or additional information may be obtained by contacting: Mark Boutin, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013.