- 62-780.300 Quality Assurance Requirements.

(1) Persons performing sampling and analyses pursuant to this chapter shall comply with the applicable requirements of chapter 62-160, F.A.C., Quality Assurance.

(2) Unless otherwise specified in this chapter, reports that are submitted to the Department and that contain analytical data shall include the following forms and information, as applicable:

(a) Laboratory reports that include all applicable information specified in subsections 62-160.340(1) and (2), F.A.C. (Soil analytical results shall be reported on a dry-weight basis.);

(b) Copies of the completed chain of custody record form(s) [Form 62-780.900(2), effective date 6-12-13, hereby adopted and incorporated by reference (http://www.flrules.org/Gateway/reference.asp?No=Ref-01489), or an equivalent chain of custody form that includes all the items required by Form 62-780.900(2)]. Forms may be obtained from the Division of Waste Management website at www.dep.state.fl.us/waste;

(c) Copies of the completed groundwater sampling log(s) (Form FD 9000-24) referenced in the Groundwater Sampling SOP, FS 2200; and,

(d) Results from screening tests or on-site analyses performed pursuant to this chapter.

Rulemaking Authority 376.303, 376.3071, 376.30701, 376.3078(4), 376.81, 403.0877 FS. Law Implemented 376.3071, 376.30701, 376.3078(4), 376.81 FS. History–New 4-17-05, Amended 6-12-13.
Editorial Note: Portions of this rule were copied from rule 62-770.400, Formerly 17-70.007 and Formerly 17-770.400; 62-782.300; and 62-785.300, F.A.C.