Notice of Variances and Waivers

DEPARTMENT OF ENVIRONMENTAL PROTECTION

RULE NO.: 	RULE TITLE:

62-604.400: 	Design/Performance Considerations

The Department of Environmental Protection hereby gives notice: that on July 7, 2013, the Department of Environmental Protection has issued an order granting a variance to Miami-Dade Water and Sewer Department (Petitioner). The Petition was received by the Department on April, 16, 2013 and a Notice of receipt was published in the Florida Administrative Register on April 29, 2013. The petition requested a variance from paragraph 62-604.400(2)(a), F.A.C., to be exempted from the requirement to install an on-site emergency generator at an existing Pump Station located at 2202 SW 26 St., Miami, FL. Petitioner instead requests to be able to use a portable generator. No public comment was received. The Order, file number 13-0935, granted the Petition based on a showing that Petitioner demonstrated that a strict application of the rule would result in substantial hardship to Petitioner or would affect Petitioner differently than other similarly situated applicants and because Petitioner demonstrated that the purpose of the underlying statute will be or has been achieved by other means.

A copy of the Order or additional information may be obtained by contacting: Cheryl Minskey, Department of Environmental Protection, MS 3540, 2600 Blair Stone Rd., Tallahassee FL, 32399; (850)245-8619, cheryl.minskey@dep.state.fl.us.