Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001:	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice: on August 5, 2013 the Division issued an order. The Final Order was in response to a Petition for a Variance from Sierra Grande Bldg 4, filed July 15, 2013, and advertised on July 18, 2013 in Vol. 39, No. 139, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a variance from Rule 2.20.1, 2.18.5.1, 2.20.4, 2.20.5 and 2.20.9 ASME A17.1b, 2009 edition, as adopted by paragraph 61C-5.001(1)(a) Florida Administrative Code that requires steel ropes of a minimum diameter of 9.5 mm because the Petitioner has demonstrated that the intent of the rule will be met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2013-228).

A copy of the Order or additional information may be obtained by contacting: Mark Boutin, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013.