14-86.004 Permit Application Procedure.

(1) An applicant shall apply for a drainage connection permit on Form 592-12. These forms may be obtained from any of the Department’s district offices or regional maintenance offices.

(2) The applicant shall submit four completed permit application forms. Each form shall include all required attachments.

(3) When the improvement is for agricultural or silvicultural use and is not exempt under paragraph 14-86.003(1)(b), F.A.C., or the improvement is a residential duplex, triplex, or quadraplex structure which is not part of a larger common plan of improvement, and when the improvement will have less than 10,000 square feet of buildings and paved surfaces of which no more than 5,000 square feet is located within 250 feet of the Department’s right-of-way line; in lieu of providing the information required in subsection 14-86.004(4), F.A.C. below, the activity description required on the permit form may be expanded to contain sufficient information to provide the reasonable assurances required in subsection 14-86.003(3), F.A.C. However, the applicant shall certify full knowledge of and intent to comply with the conditions for issuance of the permit.

(4) For improvements other than those specified in subsection 14-86.004(3), F.A.C., the permit application shall be accompanied by:

(a) An affidavit of ownership or control of the property, a legal description of the property, and a statement that the total contiguous property owned or controlled by the applicant is that shown and described.

(b) A map sufficient to show the location of the improvement and the drainage connection, and as applicable shall include the state highway number, county, city, and section, range, and township.

(c) A grading plan drawn to scale showing pre-improvement and post-improvement site conditions including all pervious and impervious surfaces, land contours, spot elevations and all drainage facilities both of the Department and of the improvement. Existing conditions will be accepted only if pre-improvement conditions cannot be established. Elevations shall be based upon National Geodetic Vertical Datum (NGVD). Contour information shall extend 50 feet beyond the property boundaries or be sufficient to clearly define the portion of the watershed which drains through the property to the Department’s facilities.

(d) Sufficient photographs to accurately depict pre-improvement and present conditions.

(e) Sufficient soil borings and water table data and, where percolation or infiltration is utilized in the design, appropriate percolation test methodology and results.

(f) Computations as required by subsection 14-86.003(3), F.A.C.

(g) Certification by an Engineer that the complete set of plans and computations comply with one of the following paragraph 14-86.003(3)(a) or 14-86.003(3)(b), F.A.C.

(5) Permits requested pursuant to subsection 14-86.003(2), F.A.C., which meet the criteria of subparagraphs 14-86.003(1)(c)1. and 14-86.003(1)(c)3., F.A.C., but which require work to be done on the Department’s right-of-way contrary to subparagraph 14-86.003(1)(c)2., F.A.C., will not require submittal of the information required by paragraphs 14-86.004(4)(e) through (g), F.A.C.

(6) The Department recognizes that regulatory and permitting programs exist or may be developed in the future by local units of government, state or federal agencies which may overlap with some or all of the requirements of this Chapter. In order to avoid duplication the Department will:

(a) In lieu of the requirements in Rule 14-86.003 and subsection 14-86.004(4), F.A.C., accept a Surface Water Management Permit issued by a Water Management District, a Surface Water Management Permit issued by a delegated local government or a permit issued pursuant to an approved Stormwater Management Plan or Master Drainage Plan; provided, issuance is based on requirements equal to or more stringent than those in Rule 14-86.003, F.A.C.; or

(b) Accept any form, plans, specifications, drawings, calculation, or other data developed to support an application for a permit required by the appropriate agency, pursuant to any rule which establishes requirements equal to or more stringent that Rule 14-86.003, F.A.C., in lieu of any such submittals required by Rule 14-86.004, F.A.C.

Specific Authority 334.044(2) FS. Law Implemented 334.03(23), (27), 334.044(1), (10)(a), (27), 335.02(1), 336.045(1), 337.401(1) FS. History– New 11-12-86.