Notice of Change/Withdrawal

DEPARTMENT OF HEALTH

Division of Environmental Health

RULE NO.:	RULE TITLES:

64E-5.203	Radioactive Material Other Than Source Material – Exemptions

NOTICE OF CORRECTION

Notice is hereby given that the following correction has been made to the proposed rule in Vol. 39, No. 77, April 19, 2013 issue of the Florida Administrative Register.

Subparagraph (2)(e)2. should have read:

(2) Exempt Quantities.

(e)1. Any person, who possesses radioactive material received or acquired before September 25, 1971, under the then existing general license issued to transfer, receive, acquire, own, possess, use and import quantities of radioactive materials listed in subparagraph 64E-5.203(2)(e)2., F.A.C., Table of General Licensed Quantities prior to September 25, 1971 below, or similar general license of a State, or provided that no person shall at any one time possess or use, pursuant to the general license provisions of this section, more than a total of ten such quantities.

2. Below is the Table of General Licensed Quantities prior to September 25, 1971:

|  | Radioactive material | Column No. I Not as a sealed source (microcuries) | Column No. III As a sealed source (microcuries) |
| --- | --- | --- | --- |
| a | Antimony (Sb 124) | 1 | 10 |
| b | Arsenic 76 (As 76) | 10 | 10 |
| c | Arsenic 77 (As 77) | 10 | 10 |
| d | Barium 140 – Lanthanum 140 (Ba La 140) | 1 | 10 |
| e | Beryllium 7 (Be 7) | 50 | 50 |
| f | Cadmium 109 – Silver 109 (Cd Ag 109) | 10 | 10 |
| g | Calcium 45 (Ca 45) | 10 | 10 |
| h | Carbon 14 (C 14) | 50 | 50 |
| i | Cerium 144 – Praseodymium (Ce Pr 144) | 1 | 10 |
| j | Cesium – Barium 137 (Cs Ba 137) | 1 | 10 |
| k | Chlorine 36 (Cl 36) | 1 | 10 |
| l | Chromium 51 (Cr 51) | 50 | 50 |
| m | Cobalt 60 (Co 60) | 1 | 10 |
| n | Copper 64 (Cu 64) | 50 | 50 |
| o | Europium 154 (Eu 154) | 1 | 10 |
| p | Fluorine 18 (F 18) | 50 | 50 |
| q | Gallium 72 (Ga 72) | 10 | 10 |
| r | Germanium 71 (Ge 71) | 50 | 50 |
| s | Gold 198 (Au 198) | 10 | 10 |
| t | Gold 199 (Au 199) | 10 | 10 |
| u | Hydrogen 3 (Tritium) (H 3) | 250 | 250 |
| v | Indium 114 (In 114) | 1 | 10 |
| w | Iodine 131 (I-131) | 10 | 10 |
| x | Iridium 192 (Ir 192) | 10 | 10 |
| y | Iron 55 (Fe 55) | 50 | 50 |
| z | Iron 59 (Fe 59) | 1 | 10 |
| aa | Lanthanum 140 (La 140) | 10 | 10 |
| bb | Manganese 52 (Mn 52) | 1 | 10 |
| cc | Manganese 56 (Mn 56) | 50 | 50 |
| dd | Molybdenum 99 (Mo 99) | 10 | 10 |
| ee | Nickel 59 (Ni 59) | 1 | 10 |
| ff | Nickel 63 (Ni 63) | 1 | 10 |
| gg | Niobium 95 (Nb 95) | 10 | 10 |
| hh | Palladium 109 (Pd 109) | 10 | 10 |
| ii | Palladium 103 – Rhodium 103 (Pd-Rh 103) | 50 | 50 |
| jj | Phosphorus 32 (P 32) | 10 | 10 |
| kk | Polonium 210 (Po 210) | 0.1 | 1 |
| ll | Potassium 42 (K 42) | 10 | 10 |
| mm | Praseodymium 143 (Pr 143) | 10 | 10 |
| nn | Promethium 147 (Pm 147) | 10 | 10 |
| oo | Rhenium 186 (Re 186) | 10 | 10 |
| pp | Rhodium 105 (Rh 105) | 10 | 10 |
| qq | Rubidium 86 (Rb 86) | 10 | 10 |
| rr | Ruthenium 106 – Rhodium 106 (Ru Rh 106) | 1 | 10 |
| ss | Samarium 153 (Sm 153) | 10 | 10 |
| tt | Scandium 46 (Sc 46) | 1 | 10 |
| uu | Silver 105 (Ag 105) | 1 | 10 |
| vv | Silver 111 (Ag 111) | 10 | 10 |
| ww | Sodium 22 (Na 22) | 10 | 10 |
| xx | Sodium 24 (Na 24) | 10 | 10 |
| yy | Strontium 89 (Sr 89) | 1 | 10 |
| zz | Strontium 89 – Yttrium 90 (Sr Y 90) | 0.1 | 1 |
| aaa | Sulfur 35 (S 35) | 50 | 50 |
| bbb | Tantalum 182 (Ta 182) | 10 | 10 |
| ccc | Technetium 96 (Tc 96) | 1 | 10 |
| ddd | Technetium 99 (Tc 99) | 1 | 10 |
| eee | Tellurium 127 (Te 127) | 10 | 10 |
| fff | Tellurium 129 (Te 129) | 1 | 10 |
| ggg | Thallium 204 (Tl 204) | 50 | 50 |
| hhh | Tin 112 (Sn 113) | 10 | 10 |
| iii | Tungsten 185 (W 185) | 10 | 10 |
| jjj | Vanadium 48 (V 48) | 1 | 10 |
| kkk | Yttrium 90 (Y 90) | 1 | 10 |
| lll | Yttrium 91 (Y 91) | 1 | 10 |
| mmm | Zinc 65 (Zn 65) | 10 | 10 |
| nnn | Beta or Gamma emitting radioactive material not listed above | 1 | 10 |