61-30.801 Standards of Practice, General.

(1) Home inspections performed to these Standards of Practice are intended to provide the client with information regarding the overall condition of installed systems and components of the home based on observation of the visible and apparent condition of the structure and components at the time of the home inspection and to report on those systems and components inspected that, in the professional opinion of the inspector, are significantly deficient or at the end of their service lives. A home inspection does not include the prediction of future conditions.

(2) These standards shall not be construed as limiting the scope of the inspection process in those areas where the inspector is qualified and/or has special knowledge.

(3) The inspector shall inspect readily accessible, installed systems and components of homes listed in these Standards of Practice by using normal operating controls and opening readily operable access panels. Where multiple instances of the same component exist, a representative number shall be inspected.

(4) The inspector shall inspect and report as required by Section 468.8323, F.S., when required by these standards, systems or components by their type and/or significant characteristics.

(5) If not self-evident to the client at the time of inspection, the inspector shall give a reason why, in his or her opinion, the system or component was reported as significantly deficient or near the end of its service life.

(6) The inspector shall make recommendations for correction and/or monitoring, or further evaluation of the deficiencies that the inspector observed.

(7) These Standards of Practice do not limit inspectors from:

(a) Including other inspection services, in addition to those required by these Standards of Practice;

(b) Specifying repairs, provided the inspector is appropriately qualified;

(c) Excluding systems and components from the inspection if agreed upon in writing by the inspector and client.

Rulemaking Authority 468.8325 FS. Law Implemented 468.8323, 468.832(1)(j) FS. History‒New 10-22-13.