- 69A-47.011 Standards Adopted.

(1) The following shall be in compliance with the Florida Fire Prevention Code, 2010 Edition, as adopted in rule 69A-3.012, F.A.C., “Standards of the National Fire Protection Association and Other Standards Adopted,” and those standards adopted in rule 61C-5.001, F.A.C., “Safety Standards,” (8-21-12):

(a) Enclosures of elevator hoistways, machine rooms, and machine spaces;

(b) Automatic smoke detectors and heat detectors; and,

(c) Automatic sprinklers in hydraulic and non-hydraulic elevators.

(2) Rule 61C-5.001, F.A.C., “Safety Standards,”(8-21-12), may be obtained by writing to the Department of Financial Services, Division of State Fire Marshal, Bureau of Fire Prevention, 200 East Gaines Street, Tallahassee, Florida 32399-0342.

Rulemaking Authority 633.104 FS. Law Implemented 633.104, 633.206 FS. History–New 8-16-01, Formerly 4A-47.011, Amended 11-6-13.