Notice of Development of Rulemaking

DEPARTMENT OF AGRICULTURE AND CONSUMER SERVICES

Division of Agricultural Environmental Services

RULE NOS.:	RULE TITLES:

5E-1.024	Commercial Fertilizer Tests

5E-1.027	Investigational Allowances

5E-1.028	Matching Criteria

PURPOSE AND EFFECT: The purpose of this rulemaking is to provide notice of the form (FDACS-13409 Rev. 10/13) incorporated by reference in the rule, update the assays and fees for commercial fertilizer testing, establish certain investigational allowances for fertilizer deficiencies in rule and a date by which such allowances are effective and other allowances are repealed, and establish matching criteria for referee fertilizer analysis in rule in accordance with Chapter 2013-226, s. 14, 15 and 16, Laws of Florida amending s. 576.051, 576.061 and s. 576.181, Florida Statutes. The effect of this rulemaking will be to provide notice of the form incorporated by reference in the rule and bring the form into compliance with Section 120.55(1)(a)4., Florida Statutes, to revise assays and fees to match those in the new Laboratory Information Management System, to establish certain investigational allowances for fertilizer deficiencies in rule including the revisions recently made by the Association of American Plant Food Control Officials (AAPFCO) for higher percent available phosphate and soluble potash guarantees and establish the date by which such allowances are effective and other allowances are repealed, and establish matching criteria for referee fertilizer analysis determinations in rule that provide for more statistically defensible determinations for low nutrient guarantees in accordance with Chapter 2013-226, s. 14, 15 and 16, Laws of Florida amending s. 576.051, 576.061 and s. 576.181, Florida Statutes.

SUBJECT AREA TO BE ADDRESSED: Commercial fertilizer testing, investigational allowances for fertilizer deficiencies, matching criteria for referee analysis and an effective date by which such allowances are effective and other allowances are repealed.

RULEMAKING AUTHORITY: 576.051, 576.061 and 576.181 FS.

LAW IMPLEMENTED: 576.051, 576.061 and 576.181 FS.

IF REQUESTED IN WRITING AND NOT DEEMED UNNECESSARY BY THE AGENCY HEAD, A RULE DEVELOPMENT WORKSHOP WILL BE NOTICED IN THE NEXT AVAILABLE FLORIDA ADMINISTRATIVE REGISTER.

THE PERSON TO BE CONTACTED REGARDING THE PROPOSED RULE DEVELOPMENT AND A COPY OF THE PRELIMINARY DRAFT IS: Patricia Lucas, Bureau Chief, Bureau of Agricultural Environmental Laboratories, 3125 Conner Boulevard, Building 7, Tallahassee, FL 32399-1650, (850)617-7835, Patricia.Lucas@FreshFromFlorida.com

THE PRELIMINARY TEXT OF THE PROPOSED RULE DEVELOPMENT IS:

- 5E-1.024 Commercial Fertilizer Tests.

(1) The department will perform, upon request, laboratory assays of fertilizers when the Division of Agricultural Environmental Services determines the requested assay will not interfere with the prescribed duties of the department. Fertilizers submitted for analyses shall be accompanied by a completed form entitled, “Florida Commercial Fertilizer Collection Form (FDACS-13409, Rev. 10/13), which is hereby adopted and incorporated by reference and available online at http://www.flrules.org/Gateway/reference. Requested assays will be completed upon payment of the charges listed below:

| (2) Assay | Fee |
| --- | --- |
| (a) Total Nitrogen | 50.00 |
| (b) Nitrate Nitrogen (short preparation) | 10.00 |
| (c) Nitrate Nitrogen (long preparation) | 34.00 |
| (c)(d) Ammoniacal Nitrogen (short preparation) | 10.00 |
| (e) Ammoniacal Nitrogen (long preparation) | 34.00 |
| (d)(f) Water Soluble Nitrogen Urea (short preparation) | 10.00 |
| (g) Urea (long preparation) | 34.00 |
| (h) Water Soluble Nitrogen (short preparation) | 10.00 |
| (i) Water Soluble Nitrogen (long preparation) | 34.00 |
| (e)(j) Water Insoluble Nitrogen | 34.00 |
| (k) Controlled Release Nitrogen | 155.00 |
| (l) Other Controlled Release Products | 155.00 |
| (f)(m) Available Phosphorus (P2O5) | 40.00 |
| (g) Total Phosphorus (P2O5) | 45.00 |
| (h)(n) Soluble Potassium | 34.00 |
| (i)(o) Chlorine | 34.00 |
| (j)(p) Total Magnesium | 34.00 |
| (k)(q) Water Soluble Magnesium | 34.00 |
| (l)(r) Total Manganese | 44.00 |
| (m)(s) Soluble Manganese | 25.00 |
| (n)(t) Chelated Manganese | 34.00 |
| (o)(u) Total Copper | 44.00 |
| (p)(v) Soluble Copper | 25.00 |
| (q)(w) Chelated Copper | 34.00 |
| (r)(x) Total Iron | 44.00 |
| (s)(y) Soluble Iron | 25.00 |
| (t)(z) Chelated Iron | 34.00 |
| (u)(aa) Total Zinc | 44.00 |
| (v)(bb) Soluble Zinc | 25.00 |
| (w)(cc) Chelated Zinc | 34.00 |
| (x)(dd) Aluminum | 44.00 |
| (y)(ee) Boron | 34.00 |
| (z)(ff) Calcium | 44.00 |
| (aa)(gg) Cobalt | 44.00 |
| (bb)(hh) Molybdenum | 44.00 |
| (cc)(ii) Sulfur (combined) | 50.00 |
| (dd)(jj) Sulfur (free) | 75.00 |
| (ee) Non-Nutritive Metals (Pass/Fail Florida Standard) | 50.00 |
| (ff) Non-Nutritive Metals (Reported in ppm) | 100.00 |
| (gg) Moisture | 25.00 |
| (hh)(kk) Calcium Carbonate | 50.00 |
| (ii)(ll) Calcium Sulfate | 50.00 |
| (jj)(mm) Magnesium Carbonate | 50.00 |

Rulemaking Authority 576.051, 576.061, 576.181 FS. Law Implemented 576.051(2), 576.061, 576.181 FS. History–New 10-25-98, Amended.

- 5E-1.027 Investigational Allowances.

(1) Effective July 1, 2014, investigational allowances are set as follows:

a. Primary plant nutrients; investigational allowances. –

| Guaranteed Percent | Total Nitrogen Percent | Available Phosphate Percent (P2O5) | Soluble Potash Percent (K2O) |
| --- | --- | --- | --- |
| 04 or less | 0.49 | 0.67 | 0.41 |
| 05 | 0.51 | 0.67 | 0.43 |
| 06 | 0.52 | 0.67 | 0.47 |
| 07 | 0.54 | 0.68 | 0.53 |
| 08 | 0.55 | 0.68 | 0.60 |
| 09 | 0.57 | 0.68 | 0.65 |
| 10 | 0.58 | 0.69 | 0.70 |
| 12 | 0.61 | 0.69 | 0.79 |
| 14 | 0.63 | 0.70 | 0.87 |
| 16 | 0.67 | 0.70 | 0.94 |
| 18 | 0.70 | 0.71 | 1.01 |
| 20 | 0.73 | 0.72 | 1.08 |
| 22 | 0.75 | 0.72 | 1.15 |
| 24 | 0.78 | 0.73 | 1.21 |
| 26 | 0.81 | 0.73 | 1.27 |
| 28 | 0.83 | 0.74 | 1.33 |
| 30 | 0.86 | 0.75 | 1.39 |
| 32 | 0.88 | 0.76 | 1.44 |
| 34 | * | 0.79 | 1.46 |
| 36 | * | 0.83 | 1.49 |
| 38 | * | 0.86 | 1.51 |
| 40 | * | 0.90 | 1.54 |
| 42 | * | 0.93 | 1.56 |
| 44 | * | 0.96 | 1.58 |
| 46 | * | 1.00 | 1.61 |
| 48 | * | 1.03 | 1.63 |
| 50 | * | 1.07 | 1.66 |
| 52 | * | 1.10 | 1.68 |
| 54 | * | - | 1.70 |
| 56 | * | - | 1.73 |
| 58 | * | - | 1.75 |
| 60 | * | - | 1.78 |
| 62 | * | - | 1.80 |

*For N guarantees above 32%, the investigational allowance shall be 0.88; For TSP, the investigational allowance shall be 1.53%

For guarantees not listed, calculate the appropriate value by interpolation.

b. Nitrogen investigational allowances. –

| Nitrogen Breakdown | Investigational Allowances Percent |
| --- | --- |
| Nitrate nitrogen | 0.40 |
| Ammoniacal nitrogen | 0.40 |
| Water soluble nitrogen or urea nitrogen | 0.40 |
| Water insoluble nitrogen | 0.30 |

In no case may the investigational allowance exceed 50 percent of the amount guaranteed.

c. Secondary and micro nutrients, total or soluble. –

| Element | Investigational Allowances Percent |
| --- | --- |
| Calcium | 0.2 unit + 5 percent of guarantee |
| Magnesium | 0.2 unit + 5 percent of guarantee |
| Sulfur (free and combined) | 0.2 unit + 5 percent of guarantee |
| Boron | 0.003 unit + 15 percent of guarantee |
| Cobalt | 0.0001 unit + 30 percent of guarantee |
| Chlorine | 0.005 unit + 10 percent of guarantee |
| Copper | 0.005 unit + 10 percent of guarantee |
| Iron | 0.005 unit + 10 percent of guarantee |
| Manganese | 0.005 unit + 10 percent of guarantee |
| Molybdenum | 0.0001 unit + 30 percent of guarantee |
| Sodium | 0.005 unit + 10 percent of guarantee |
| Zinc | 0.005 unit + 10 percent of guarantee |

The maximum allowance for secondary and minor elements when calculated in accordance with this section is 1 unit (1 percent). In no case, however, may the investigational allowance exceed 50 percent of the amount guaranteed.

d. Liming materials and gypsum

| Range Percent | Investigational Allowances Percent |
| --- | --- |
| 0-10 | 0.30 |
| Over 10-25 | 0.40 |
| Over 25 | 0.50 |

e. Pesticides in fertilizer mixes. – An investigational allowance of 25 percent of the guarantee shall be allowed on all pesticides when added to custom blend fertilizers.

Rulemaking Authority 576.051, 576.061, 576.181, FS. Law Implemented 576.051, 576.061, 576.181 FS. History–New.

- 5E-1.028 Matching Criteria.

(1) Effective July 1, 2014, laboratory determinations from the different laboratories that agree within the investigational allowances listed in Section 5E-1.027 for the guaranteed nutrient(s) are considered matching results.

Rulemaking Authority 576.051, 576.061, 576.181, FS. Law Implemented 576.051, 576.061, 576.181 FS. History–New.