DEPARTMENT OF FINANCIAL SERVICES

Division of State Fire Marshal

RULE CHAPTER NO.: RULE CHAPTER TITLE:

69A-60 The Florida Fire Prevention Code

RULE NO.: RULE TITLE:

69A-60.004 Standards of the National Fire Protection Association, NFPA 101, the Life Safety Code, Florida 2003 Edition, Adopted

PURPOSE AND EFFECT: To reconcile a conflict between the Florida Fire Prevention Code and the Florida Building Code and to make the Florida Fire Prevention Code uniform with the Americans with Disabilities Act, which was incorporated into the Florida Building Code.

SUBJECT AREA TO BE ADDRESSED: Distance of new handrails from walls.

SPECIFIC AUTHORITY: 633.01 FS., 633.0215 FS., 633.025 FS.

LAW IMPLEMENTED: 633.01 FS., 633.0215 FS., 633.025 FS.

IF REQUESTED IN WRITING AND NOT DEEMED UNNECESSARY BY THE AGENCY HEAD, A RULE DEVELOPMENT WORKSHOP WILL BE HELD AT THE DATE, TIME AND PLACE SHOWN BELOW. IF A WORKSHOP IS NOT REQUESTED, NO WORKSHOP WILL BE HELD.

DATE AND TIME: April 3, 2006, 9:00 a.m.

PLACE:  Room 116, Larson Building, 200 East Gaines Street, Tallahassee, Florida 32399-0300

THE PERSON TO BE CONTACTED REGARDING THE PROPOSED RULE DEVELOPMENT IS:  Jim Goodloe, Chief, Bureau of Fire Prevention, 200 East Gaines Street, Tallahassee, Florida 32399-0342. Phone (850)413-3621, Fax (850)414-6119, email: Jim.Goodloe@fldfs.com.

Pursuant to the provisions of the Americans with Disabilities Act and Section 286.26, F.S., any person requiring special accommodations to participate in this program, please advise the Department at least 48 hours before the program by contacting Millicent King, phone (850)413-3619

THE PRELIMINARY TEXT OF THE PROPOSED RULE DEVELOPMENT IS:

69A-60.004. Standards of the National Fire Protection Association, NFPA 101, the Life Safety Code, Florida 2003 Edition, Adopted.

(1) and (2) No change.

(3) Subdivision 7.2.2.4.4.5, of  NFPA 101, Florida 2003 edition, as adopted herein, shall read: New handrails shall be installed to provide a clearance of not less than 1 and 1/2 inches between the handrail and the wall or other surface to which it is fastened.

Specific Authority 633.01, 633.0215, 633.025 FS. Law Implemented 633.01, 633.0215, 633.025 FS. History–New 11-15-01, Amended 11-28-04, Formerly 4A-60.004, Amended_________.