- 20-31.001 Certain Heating Prohibited.

No kerosene or other gas-generating heater shall be operated inside, or within 15 feet of, any coloring-room or enclosure where citrus fruits are being degreened.

Rulemaking Authority 601.10(1), (7) FS. Law Implemented 601.10(7) FS. History–Formerly 105-1.13(1), Amended 1-1-75, Formerly 20-31.01.