5E-1.028 Matching Criteria.

Effective July 1, 2014, laboratory determinations from the different laboratories that agree within the investigational allowances listed in Rule 5E-1.027, F.A.C., for the guaranteed nutrient(s) are considered matching results.

Rulemaking Authority 576.051, 576.061, 576.181 FS. Law Implemented 576.051, 576.061, 576.181 FS. History‒New 2-24-14.