Notice of Proposed Rule

DEPARTMENT OF LAW ENFORCEMENT

Division of Local Law Enforcement Assistance

RULE NO.:	RULE TITLE:

11D-8.014	Blood Alcohol Permit – Analyst: Renewal

PURPOSE AND EFFECT: 11D-8.014(1): Reduces the number of proficiency testing cycles from four times per calendar year to two times per calendar year. According to international accreditation standards, forensic science disciplines should be proficiency tested at least once per calendar year. Having the permitted blood alcohol analysts complete four proficiency test cycles each calendar year is costly and places an undue burden on toxicology laboratories. Reducing the number of proficiency testing cycles to twice per year removes the undue burden while maintaining high standards that exceed accreditation standards.

11D-8.014(2): Removes the option to not participate in a proficiency test cycle since the number of testing cycles is being reduced. This change is necessary to bring the rule language in agreement with the proposed proficiency testing cycles in subsection (1).

11D-8.014(4): Changes to four sets of samples to coincide with the new proficiency testing cycles. This change is necessary to bring the rule language in agreement with the proposed proficiency testing cycles in subsection (1).

SUMMARY: Reduces the number of proficiency testing cycles; removes the option to not participate in a proficiency test cycle; and changes to four sets of samples.

SUMMARY OF STATEMENT OF ESTIMATED REGULATORY COSTS AND LEGISLATIVE RATIFICATION:

The Agency has determined that this will not have an adverse impact on small business or likely increase directly or indirectly regulatory costs in excess of $200,000 in the aggregate within one year after the implementation of the rule. A SERC has not been prepared by the Agency.

The Agency has determined that the proposed rule is not expected to require legislative ratification based on the statement of estimated regulatory costs or if no SERC is required, the information expressly relied upon and described herein: OTHER RULES INCORPORATING THIS RULE: N/A. EFFECT ON THOSE OTHER RULES: N/A The proposed rule is not expected to exceed any of the criteria set forth in Section 120.541(2)(a), F.S., and thus, a legislative ratification is not required under Section 120.541(3), F.S. This determination is based upon the nature of the subject matter of the proposed amendment.

Any person who wishes to provide information regarding a statement of estimated regulatory costs, or provide a proposal for a lower cost regulatory alternative must do so in writing within 21 days of this notice.

RULEMAKING AUTHORITY: 316.1932(1)(a)2., (f)1., 322.63(3)(a), 327.352(1)(b)3. FS.

LAW IMPLEMENTED: 316.1932(1)(b), 316.1933(2)(b), 316.1934(3), 322.63(3)(b), 327.352(1)(e), 327.353(2), 327.354(3) FS.

IF REQUESTED WITHIN 21 DAYS OF THE DATE OF THIS NOTICE, A HEARING WILL BE HELD AT THE DATE, TIME AND PLACE SHOWN BELOW:

DATE AND TIME: Friday, March 7, 2014, 9:00 a.m.

PLACE: Florida Department of Law Enforcement, Criminal Justice Professionalism, 2331 Phillips Road, Classroom Room A, Tallahassee, Florida 32308

Pursuant to the provisions of the Americans with Disabilities Act, any person requiring special accommodations to participate in this workshop/meeting is asked to advise the agency at least 5 days before the workshop/meeting by contacting: The Alcohol Testing Program at (850)617-1290 or alcoholtestingprogram@fdle.state.fl.us or write to Florida Department of Law Enforcement, Criminal Justice Professionalism, Alcohol Testing Program, 2331 Phillips Road, Tallahassee, Florida 32308. If you are hearing or speech impaired, please contact the agency using the Florida Relay Service, 1(800)955-8771 (TDD) or 1(800)955-8770 (Voice).

THE PERSON TO BE CONTACTED REGARDING THE PROPOSED RULE IS: The Alcohol Testing Program at (850)617-1290 or alcoholtestingprogram@fdle.state.fl.us or write to Florida Department of Law Enforcement, Criminal Justice Professionalism, Alcohol Testing Program, 2331 Phillips Road, Tallahassee, Florida 32308

THE FULL TEXT OF THE PROPOSED RULE IS:

11D-8.014 Blood Alcohol Permit – Analyst: Renewal.

(1) Permits to conduct blood alcohol analyses shall remain valid until otherwise suspended or revoked by the Department. In order to remain qualified for such permit, an analyst must satisfactorily determine the blood alcohol level of at least two (2) proficiency samples provided by the Department semiannually each annual quarter. Satisfactory determination shall be made by reporting results for blood alcohol proficiency samples within the acceptable range for the samples. For blood alcohol testing acceptable ranges shall mean the calculated proficiency sample mean + or - 3 standard deviations iterated twice. The mean and standard deviations will be calculated using the results reported by the analysts and reference laboratories.

(2) An analyst, who is in good standing, may elect to not participate in one proficiency test cycle each calendar year. The analyst must notify the Department in writing, of his/her election prior to the date the proficiency test results must be reported to the Department.

(2)(3) Upon notification by the Department that an analyst has failed to satisfactorily determine the blood alcohol level on any set of proficiency samples, the analyst shall be required to satisfactorily determine the blood alcohol level of a second set of five proficiency samples provided by the Department.

(3)(4) Upon notification by the Department that an analyst has failed to satisfactorily determine the blood alcohol level on a second set of proficiency samples, the analyst shall not perform any duties authorized by the analyst’s permit until the analyst satisfactorily determines the blood alcohol level of a subsequent set of proficiency samples provided by the Department. This section shall not preclude the Department from taking further action in accordance with Rule 11D-8.015, F.A.C.

(4)(5) Failure to satisfactorily determine the blood alcohol level of any 4 six (6) sets of proficiency samples provided by the Department within a 12-month twelve (12) month period shall result in revocation of the blood analyst permit.

Rulemaking Specific Authority 316.1932(1)(a)2., (f)1., 322.63(3)(a), 327.352(1)(b)3. FS. Law Implemented 316.1932(1)(b), 316.1933(2)(b), 316.1934(3), 322.63(3)(b), 327.352(1)(e), 327.353(2), 327.354(3) FS. History–New 10-31-93, Amended 1-1-97, 11-5-02,________.

NAME OF PERSON ORIGINATING PROPOSED RULE: Patrick Muphy, Ph.D, ATP Program Manager

NAME OF AGENCY HEAD WHO APPROVED THE PROPOSED RULE: Governor and Cabinet

DATE PROPOSED RULE APPROVED BY AGENCY HEAD: December 10, 2013

DATE NOTICE OF PROPOSED RULE DEVELOPMENT PUBLISHED IN FAR: January 7, 2014