Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Florida Building Commission

RULE NO.:	RULE TITLE:

61G20-1.001	Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has received the petition for declaratory statement from Leah Marie Enterprises, LLC. The petition seeks the agency’s opinion as to the applicability of Section 1612.2, Florida Building Code, Building (2010) & Sections 202, 303.2, 304.5, & 807.4 Florida Building Code, Existing Building (2010), as it applies to the petitioner.

Petitioner seeks clarification as to if a voluntary alteration project involving removal of more than 30% of the truss system is classified as substantial structural damage.

A copy of the Petition for Declaratory Statement may be obtained by contacting: Agency Clerk’s Office, Department of Business and Professional Regulation, 1940 North Monroe Street, Suite 92, Tallahassee, Florida 32399-2203, (850)921-0342, AGC.Filing@myfloridalicense.com.

Please refer all comments to: Mo Madani, Building Codes and Standards Office, Department of Business and Professional Regulation, Suite 90A, 1940 North Monroe, Tallahassee, Florida 32399, (850)487-1824, mo.madani@myfloridalicense.com.

April L. Hammonds, Office of the General Counsel, Department of Business and Professional Regulation, 1940 North Monroe Street, Tallahassee, Florida 32399-1000, (850)487-1824, april.hammonds@myfloridalicense.com. Responses, motions to intervene, or requests for a hearing, §120.57(2), Fla. Stat., must be filed within 21 days of this notice.