Notice of Proposed Rule

DEPARTMENT OF ENVIRONMENTAL PROTECTION

RULE NOS.:	RULE TITLES:

62-550.310	Primary Drinking Water Standards: Maximum Contaminant Levels and Maximum Residual Disinfectant Levels

62-550.519	Radionuclides Monitoring Requirements

PURPOSE AND EFFECT: The purpose is to ensure that customers served by non-transient non-community (NTNC) water systems, such as institutions, schools, daycares, and labor camps, are protected against exposure to Radionuclide contaminants such as Radium and Uranium. It is expected that over 2,500 Florida customers served by these school, daycare, institution and labor camp water systems will have reduced exposure Radionuclides contamination.

SUMMARY: The revisions will require NTNC water systems to monitor periodically and meet drinking water standards for the Radiological series of contaminants similar to what the community systems are required to do at present.

SUMMARY OF STATEMENT OF ESTIMATED REGULATORY COSTS AND LEGISLATIVE RATIFICATION:

The Agency has determined that this will have an adverse impact on small business or likely increase directly or indirectly regulatory costs in excess of $200,000 in the aggregate within one year after the implementation of the rule. A SERC has been prepared by the Agency.

The Agency has determined that the proposed rule is not expected to require legislative ratification based on the statement of estimated regulatory costs or if no SERC is required, the information expressly relied upon and described herein:

Any person who wishes to provide information regarding a statement of estimated regulatory costs, or provide a proposal for a lower cost regulatory alternative must do so in writing within 21 days of this notice.

RULEMAKING AUTHORITY: 403.8055, 403.853(3), 403.861(9) FS.

LAW IMPLEMENTED: 403.852(12), 403.853(1), (3), (7), 403.861(16), (17) FS.

IF REQUESTED WITHIN 21 DAYS OF THE DATE OF THIS NOTICE, A HEARING WILL BE HELD AT THE DATE, TIME AND PLACE SHOWN BELOW (IF NOT REQUESTED, THIS HEARING WILL NOT BE HELD):

DATE AND TIME: April 11, 2014 10:00 a.m.

PLACE: Department of Environmental Protection, Bob Martinez Bldg., Room 609, 2600 Blair Stone Rd., Tallahassee, FL 32399

Pursuant to the provisions of the Americans with Disabilities Act, any person requiring special accommodations to participate in this workshop/meeting is asked to advise the agency at least 5 days before the workshop/meeting by contacting: Van Hoofnagle, (850)245-8631, van.hoofnagle@dep.state.fl.us. If you are hearing or speech impaired, please contact the agency using the Florida Relay Service, 1(800)955-8771 (TDD) or 1(800)955-8770 (Voice).

THE PERSON TO BE CONTACTED REGARDING THE PROPOSED RULE IS: Van Hoofnagle, (850)245-8631, van.hoofnagle@dep.state.fl.us

THE FULL TEXT OF THE PROPOSED RULE IS:

62-550.310 Primary Drinking Water Standards: Maximum Contaminant Levels and Maximum Residual Disinfectant Levels.

(These standards may also apply as ground water quality standards as referenced in Chapter 62-520, F.A.C.)

(1) through (5) No charnge.

(6) RADIONUCLIDES – This subsection applies only to community and nontransient noncommunity water systems. The following are the maximum contaminant levels (MCLs) and regulatory detection limits (RDLs) for radionuclides:

(a) No change.

(b) Man-made radionuclides:

1. The average annual concentration of beta particle and photon radioactivity from man-made radionuclides in drinking water shall not produce an annual dose equivalent to the body or any internal organ greater than 4 millirem/year.

2. Except for those radionuclides listed below, the concentration of man-made radionuclides causing 4 mrem total body or organ dose equivalents shall be calculated on the basis of a 2 liter per day drinking water intake using the 168-hour data list in “Maximum Permissible Body Burdens and Maximum Permissible Concentration of Radionuclides in Air or Water for Occupational Exposure,” NBS Handbook 69 as amended August 1963, U. S. Department of Commerce at http://www.orau.org/ptp/Library/NBS/NBS%2069.pdf, which is incorporated herein by reference.

Average Annual Concentration Assumed to Produce

an Exposure of 4 millirem/year:

| RADIONUCLIDE | CRITICAL ORGAN | pCi/L |
| --- | --- | --- |
| Tritium | total body | 20,000 |
| Strontium90 | bone marrow | 8 |

pCi/L = picoCuries per liter

3. If two or more radionuclides are present, the sum of their annual dose equivalent to the total body or to any organ shall not exceed 4 millirem/year.

(c) No change.

Rulemaking Authority 403.8055, 403.861(9) FS. Law Implemented 403.852(12), 403.853(1) FS. History–New 11-19-87, Formerly 17-22.210, Amended 1-18-89, 5-7-90, 1-3-91, 1-1-93, 1-26-93, 7-4-93, Formerly 17-550.310, Amended 9-7-94, 8-1-00, 11-27-01, 4-14-03, 4-25-03, 11-28-04, 12-30-11,____________.

- 62-550.519 Radionuclides Monitoring Requirements.

This section contains monitoring frequency and compliance requirements for radionuclides for community and nontransient noncommunity water systems.

(1) Monitoring and Compliance Requirements for Gross Alpha Particle Activity, Radium-226, Radium-228, and Uranium.

(a) Community water systems (CWSs) and nontransient noncommunity water systems (NTNCs) shall conduct monitoring to determine compliance with paragraph 62-550.310(6)(a), F.A.C.

1. All existing CWSs and NTNCs shall sample at every entry point to the distribution system under normal operating conditions.

2. All new CWSs and new NTNCs community water systems or existing CWSs or NTNCs community water systems that use a new source of water shall begin to conduct initial monitoring for the new source within the first quarter after initiating use of the source.

3. through 4. No change.

(b) Initial monitoring: Systems shall conduct initial monitoring for gross alpha particle activity, radium--226, radium-228, and uranium as follows:

1. Systems shall collect four consecutive quarterly samples at all sampling points. All CWSs will have completed their initial monitoring by January 1, 2007.  CWSs constructed after that time and all new NTNCs will conduct one year of initial monitoring within the first year of operation. Systems serving more than 3,300 people shall begin sampling January 1, 2005. Systems serving 3,300 or fewer people shall begin sampling January 1, 2006. Existing CWSs and NTNCs can use historical data to satisfy the initial monitoring requirement as specified in paragraph 62-550.519(1)(c), F.A.C. below. New systems and new plants will begin monitoring as directed by the Department.

2. through 3. No change.

4. During the initial monitoring period, if the average of the results for a given contaminant is above half the MCL but at or below the MCL, systems serving more than 3,300 people shall sample again for that contaminant during 2008. Systems serving 3,300 or fewer people shall sample again during 2009.

5. During the initial monitoring period, if the average of the results for a given contaminant is at or above the regulatory detection limit but at or below half the MCL, systems serving more than 3,300 people shall sample again for that contaminant during 2011. Systems serving 3,300 or fewer people shall sample again during 2012.

4.6. CWSs Systems serving more than 3,300 people that were are required to sample prior to January 1, 2012 during the initial monitoring period and had have no detections shall sample again during 2014. CWSs Systems serving 3,300 or fewer people that were are required to sample prior to January 1, 2013 during the initial monitoring period and had have no detections shall sample again during 2015. All existing NTNCs shall begin routine monitoring under paragraph 62-550.519(1)(d), F.A.C., starting January 1, 2016, unless the system has historical data that allows them to go either to reduced monitoring or waives the monitoring requirement entirely.

(c) Use of Historical Data. Under the following conditions, CWS’s data gathered between June 1, 2000, and December 8, 2003 and NTNC’s data gathered between January 1, 1996 and December 31, 2015, may be used to satisfy the requirement to monitor during the initial monitoring period described in paragraph 62-550.519(1)(b), F.A.C., above.

1. through 5. No change.

(d) Routine monitoring began begins January 1, 2008, for community water systems serving 3,300 or more people. Community water systems serving fewer than 3,300 people began begins monitoring January 1, 2009. NTNCs will begin routine monitoring January 1, 2016. Routine monitoring will take place every three years and must meet the following conditions:

1. No change.

2. The gross alpha result shall not exceed 15 pCi/L. The system may either sample for uranium or may substitute the gross alpha value if it is less than 15 pCi/L. If the gross alpha value exceeds 15 pCi/L, the system must sample for uranium. The uranium result shall be subtracted from the gross alpha result in order to determine compliance with the gross alpha MCL. In the event the gross alpha result minus the uranium result exceeds 15 pCi/L, the system shall begin quarterly monitoring for gross alpha.

3. The uranium value shall not exceed 30 ug/L (20 pCi/L). In the event the uranium value exceeds 30 ug/L (20 pCi/L), the system shall begin quarterly monitoring for uranium.

4. No change.

5. The combined value for radium-226 and radium-228 shall not exceed 5 pCi/L. In the event the combined value for radium 226 and radium 228 result exceeds 5 pCi/L, the system shall begin quarterly monitoring for both radium-226 and radium-228.

(e) Reduced monitoring. The Department shall allow community and NTNC water systems to reduce the future frequency of monitoring at each sampling point from once every three years or once every six years to once every six or nine years or waive monitoring for NTNCs altogether at each sampling point, based on the following criteria:

1. If the monitoring result for a contaminant (i.e., gross alpha particle activity, uranium, radium-226, or radium-228) is below the regulatory detection limit specified in paragraph 62-550.310(6)(c), F.A.C., above, the CWS the system shall collect and analyze for that contaminant at that sampling point every nine years, and a NTNC is waived from any future monitoring for that contaminant.

2. For gross alpha particle activity and uranium, if the monitoring results for each contaminant is at or above the regulatory detection limit but at or below half the MCL, the CWS system shall collect and analyze for that contaminant using at least one sample at that sampling point every six years and the NTNC shall collect and analyze for that contaminant using at least one sample at that sampling point every nine years. For radium-226 and radium-228, the analytical results shall be combined. If the combined monitoring result for radium-226 and radium-228 is at or above 1 pCi/L, but at or below half the MCL (2.5 pCi/L), the CWS shall collect and analyze for that contaminant using at least one sample at that sampling point every six years and the NTNC shall collect and analyze for that contaminant using at least one sample at that sampling point every nine years system shall collect and analyze for those contaminants at that sampling point every six years.

3. For gross alpha particle activity and uranium, if the monitoring results for each contaminant is above half the MCL but at or below the MCL, the CWS system shall remain on routine monitoring and shall collect and analyze at least one sample at that sampling point every three years and every six years for a NTNC system. If the combined monitoring result for radium-226 and radium-228 is above half the MCL but at or below the MCL, the CWS system shall remain on routine monitoring and shall collect and analyze at least one sample at that sampling point every three years, and every six years for the NTNC system.

4. No change.

(f) through (j) No change.

(k) Use of Historical Data. Under the following conditions, data gathered between June 1, 2000 and December 8, 2003 for CWSs and between January 1, 1996 and December 31, 2015 for NTNCs, may be used to satisfy the requirement to monitor during the initial monitoring period described in paragraph 62-550.519(1)(b), F.A.C., above or may be used to allow a NTNC to go to reduced monitoring or waive the monitroing requirement altogether.

1. through 4. No change.

(2) Monitoring and Compliance Requirements for Beta Particle and Photon Radioactivity. These requirements only apply to community water systems. To determine compliance with the maximum contaminant levels in paragraph 62-550.310(6)(b), F.A.C., for beta particle and photon radioactivity, a CWS system shall monitor at a frequency as follows:

(a) through (f) No change.

- TABLE 7: MONITORING FREQUENCIES AND LOCATIONS (__________ 12/30/11)

See 40 C.F.R. Part 141, Subpart V, which is incorporated by reference in Rule 62-550.822, F.A.C., for Stage 2 disinfection byproducts monitoring frequencies and locations.

| - CONTAMINANT OR DISINFECTANT RESIDUAL GROUP | APPLICABILITY | INITIAL OR ROUTINE MONITORING |  | TRIGGER THAT INCREASES MONITORING | INCREASED MONITORING |  | TRIGGER THAT REDUCES MONITORING | REDUCED MONITORING |  | MONITORING LOCATION(S) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | GW SYSTEMS | SUBPART H SYSTEMS |  | GW SYSTEMS | SUBPART H SYSTEMS |  | GW SYSTEMS | SUBPART H SYSTEMS |  |
| ASBESTOS RULE 62-550.511 | CWSs, NTNCWSs | 1 SAMPLE EVERY 9 YEARS |  | SAMPLE > MCL | 1 SAMPLE QUARTERLY |  | SYSTEM NOT SUSCEPTIBLE | NO SAMPLING REQUIRED |  | NOTE 1 |
| NITRATE & NITRITE RULES 62-550.500(5) & 62-550.512 | CWSs, NTNCWSs | 1 SAMPLE ANNUALLY | 1 SAMPLE QUARTERLY | GW SYS. WITH SAMPLE  50% OF MCL | 1 SAMPLE QUARTERLY | --- | SUBPART H SYS. WITH EACH OF 4 MOST RECENT QUARTERLY SAMPLES  50% OF MCL | --- | 1 SAMPLE ANNUALLY DURING QUARTER WITH HIGHEST RESULT | EVERY ENTRY POINT TO DIST. SYS. DURING NORMAL OPERATING CONDITIONS |
|  | TWSs | 1 SAMPLE ANNUALLY |  | NITRATE SAMPLE  MCL OR NITRITE SAMPLE  50% OF MCL | 1 SAMPLE QUARTERLY |  | --- | --- |  |  |
| INORGANICS RULES 62-550.500(5) & 62-550.513 | CWSs, NTNCWSs | 1 SAMPLE EVERY 3 YEARS | 1 SAMPLE ANNUALLY | SAMPLE > MCL | 1 SAMPLE QUARTERLY |  | FOUR CONSECUTIVE QUARTERS < MCL | SEE ROUTINE MONITORING |  | EVERY ENTRY POINT TO DIST. SYS. DURING NORMAL OPERATING CONDITIONS |
| CHLORINE & CHLORAMINES RULES 62-550.514(1) & 62-550.821 | CWSs/NTNCWSs ADDING CHLORINE OR CHLORAMINES | MULTIPLE SAMPLES MONTHLY; SEE NOTE 2 |  | --- | --- |  | --- | --- |  | NOTE 2 |
| CHLORINE DIOXIDE RULES 62-550.514(1) & 62-550.821 | CWSs/NTNCWSs/TWSs ADDING CHLORINE DIOXIDE | 1 SAMPLE DAILY |  | SAMPLE > MCL | ADDITIONAL 3-SAMPLE SET THE FOLLOWING DAY |  | --- | --- |  | NOTE 3 |
| TOTAL TRIHALOMETHANES & HALOACETIC ACIDS (FIVE) - STAGE 1 MCLs RULES 62-550.514(2) & 62-550.821 | CWSs/NTNCWSs ADDING A DISINFECTANT & SERVING  10,000 PERSONS | 1 SAMPLE PER TREATMENT PLANT QUARTERLY | 4 SAMPLES PER TREATMENT PLANT QUARTERLY | --- | --- |  | GW SYS. WITH ANNUAL AVG. TTHM & HAA5  50% OF MCL; SUBPART H SYS. WITH ANNUAL AVG. SOURCE-WATER TOC  4.0 MG/L & ANNUAL AVG. TTHM & HAA5  50% OF MCL | 1 SAMPLE PER TREATMENT PLANT ANNUALLY DURING MONTH OF WARMEST WATER TEMP. | 1 SAMPLE PER TREAT-MENT PLANT QUARTERLY | NOTE 4 |
|  | CWSs/NTNCWSs ADDING A DISINFECTANT & SERVING 500 to 9,999 PERSONS | 1 SAMPLE PER TREATMENT PLANT ANNUALLY DURING MONTH OF WARMEST WATER TEMP. | 1 SAMPLE PER TREATMENT PLANT QUARTERLY | GW SYS. WITH AVG. OF ANNUAL SAMPLES > MCL | 1 SAMPLE PER TREATMENT PLANT QUARTERLY | --- | GW SYS. WITH ANNUAL AVG. TTHM & HAA5  50% OF MCL FOR 2 CONSECUTIVE YEARS OR  25% OF MCL FOR 1 YEAR; SUBPART H SYS. WITH ANNUAL AVG. SOURCE-WATER TOC  4.0 MG/L & ANNUAL AVG. TTHM & HAA5  50% OF MCL | 1 SAMPLE PER TREATMENT PLANT EVERY 3 YEARS DURING MONTH OF WARMEST WATER TEMP. | 1 SAMPLE PER TREATMENT PLANT ANNUALLY DURING MONTH OF WARMEST WATER TEMP. |  |
|  | CWSs/NTNCWSs ADDING A DISINFECTANT & SERVING < 500 PERSONS | 1 SAMPLE PER TREATMENT ANNUALLY DURING MONTH OF WARMEST WATER TEMP. |  | AVG. OF ANNUAL SAMPLES > MCL | 1 SAMPLE PER TREATMENT PLANT QUARTERLY |  | GW SYS. WITH ANNUAL AVG. TTHM & HAA5  50% OF MCL FOR 2 CONSECUTIVE YEARS OR  25% OF MCL FOR 1 YEAR |  | --- |  |
| CHLORITE - STAGE 1 MCL RULES 62-550.514(2) & 62-550.821 | CWSs/NTNCWSs ADDING CHLORINE DIOXIDE | 1 SAMPLE DAILY |  | SAMPLE > MCL | ADDITIONAL 3-SAMPLE SET THE FOLLOWING DAY |  | --- | --- |  | NOTE 5 |
|  |  | 3-SAMPLE SET MONTHLY |  | --- | --- |  | NO INDIVIDUAL ENTRY-POINT OR DIST. SYS. SAMPLE > MCL FOR 1 YEAR | 3-SAMPLE SET QUARTERLY |  |  |
| BROMATE - STAGE 1 MCL RULES 62-550.514(2)(b) & 62-550.821 | CWSs/NTNCWSs ADDING OZONE | 1 SAMPLE PER TREATMENT PLANT MONTHLY |  | --- | --- |  | ANNUAL AVG. SOURCE-WATER BROMIDE  0.05 MG/L BASED UPON MONTHLY MEASUREMENTS | 1 SAMPLE PER TREATMENT PLANT QUARTERLY |  | ENTRANCE TO DIST. SYS. UNDER NORMAL OPERATING CONDITIONS |
| VOLATILE ORGANICS RULES 62-550.500(5) & 62-550.515 | CWSs, NTNCWSs | 4 CONSECUTIVE QUARTERLY SAMPLES EVERY 3 YEARS OR, IF AUTHORIZED, 1 SAMPLE ANNUALLY; SEE NOTE 6 |  | DETECTION OF ANY VOC AT  0.0005 MG/L | 1 SAMPLE QUARTERLY |  | GW SYS. WITH NO DETECTION OF ANY VOC DURING 3 YEARS OF ANNUAL SAMPLING | 1 SAMPLE EVERY 3 YEARS | --- | NOTE 7 |
| SYNTHETIC ORGANICS RULES 62-550.500(5) & 62-550.516 | CWSs/NTNCWSs SERVING  3,300 PERSONS | 4 CONSECUTIVE QUARTERLY SAMPLES EVERY 3 YEARS |  | DETECTION OF ANY SOC | 1 SAMPLE QUARTERLY |  | NO DETECTION OF ANY SOC DURING INITIAL COMPLIANCE PERIOD | 2 QUARTERLY SAMPLES IN THE SAME YEAR EVERY 3 YEARS |  | NOTE 7 |
|  | CWSs/NTNCWSs SERVING  3,300 PERSONS |  |  |  |  |  |  | 1 SAMPLE EVERY 3 YEARS |  |  |
| MICROBIOLOGICAL CONTAMINANTS RULE 62-550.518 | CWSs, NTNCWSs, TWSs SERVING > 1,000 PERSONS | MULTIPLE SAMPLES MONTHLY; SEE NOTE 8 |  | TOTAL COLIFORM POSITIVE SAMPLE | NOTE 9 |  | --- | --- |  | SITES REFLECTING WATER THROUGHOUT DIST. SYS. |
|  | TWSs SERVING  1,000 PERSONS | 2 SAMPLES QUARTERLY | 2 SAMPLES MONTHLY |  |  |  |  |  |  |  |
| SECONDARY CONTAMINANTS RULES 62-550.500(5) & 62-550.520 | CWSs | 1 SAMPLE EVERY 3 YEARS |  | --- | --- |  | --- | --- |  | EVERY ENTRY POINT TO DIST. SYS. DURING NORMAL OPERATING CONDITIONS |
| GROSS ALPHA, RADIUM-226, RADIUM-228, & URANIUM RULE 62-550.519(1) | CWSs | INITIAL MONITORING IS 4 CONSECUTIVE QUARTERLY SAMPLES ROUTINE MONITORING IS 1 SAMPLE EVERY 3 YEARS - NOTE 10 |  | SAMPLE > MCL OR IF MONITORING ONCE EVERY 6 YEARS, A SAMPLE RESULT > 1/2 MCL OR IF MONITORING ONCE EVERY 9 YEARS, A SAMPLE RESULT = DETECTION LIMIT | - 1 SAMPLE QUARTERLY WHEN PREVIOUS SAMPLE RESULT IS > MCL OR IF SAMPLING EVERY 9 YEARS AND THE SAMPLE IS  MCL BUT > 1/2 MCL, SAMPLE EVERY 6 YEARS; OR IF SAMPLE IS = DETECTION LIMIT BUT  1/2 MCL OR IF SAMPLING EVERY 6 YEARS AND THE SAMPLE IS > 1/2 MCL BUT  MCL, SAMPLE EVERY 3 YEARS |  | AVERAGE OF INITIAL MONITORING SAMPLES OR LAST REDUCED MONITORING SAMPLE < DETECTION LIMIT | - 1 SAMPLE EVERY 9 YEARS |  | EVERY ENTRY POINT TO DIST. SYS. DURING NORMAL OPERATING CONDITIONS |
|  |  |  |  |  |  |  | DETECTION LIMIT  AVERAGE OF INITIAL MONITORING SAMPLES OR LAST REDUCED MONITORING SAMPLE  1/2 MCL | - 1 SAMPLE EVERY 6 YEARS |  |  |
|  | NTNCs | ROUTINE MONITORING IS 1 SAMPLE EVERY 6 YEARS NOTE 10 |  | SAMPLE > MCL OR IF MONITORING ONCE EVERY 9 YEARS, A SAMPLE RESULT > ½ MCL | - 1 SAMPLE QUARTERLY WHEN PREVIOUS SAMPLE - RESULT IS > MCL OR IF SAMPLING EVERY 9 YEARS AND THE SAMPLE IS > ½ MCL BUT  MCL, SAMPLE EVERY 6 YEARS |  | AVERAGE OF QUARTERLY MONITORING SAMPLES OR LAST MONITORING SAMPLE < DETECTION LIMIT | - NO FURTHER MONITORING REQUIRED |  |  |
|  |  |  |  |  |  |  | AVERAGE OF INITIAL MONITORING SAMPLES OR LAST REDUCED MONITORING SAMPLE  1/2 MCL AND > DETECTION LIMIT | 1 SAMPLE - EVERY 9 YEARS |  |  |
| BETA PARTICLE & PHOTON RADIOACTIVITY RULE 62-550.519(2) | CWSs DESIGNATED AS VULNERABLE | 1 SAMPLE QUARTERLY FOR GROSS BETA & 1 SAMPLE ANNUALLY FOR TRITIUM & STRONTIUM-90 |  | - SAMPLE > MCL | - 1 SAMPLE MONTHLY FOR GROSS BETA, TRITIUM, & STRONTIUM-90 |  | ANNUAL AVERAGE OF GROSS BETA MINUS POTASSIUM-40  50 pCi/L | - 1 SAMPLE EVERY 3 YEARS FOR GROSS BETA, TRITIUM, & STRONTIUM-90 |  | EVERY ENTRY POINT TO DIST. SYS. DURING NORMAL OPERATING CONDITIONS |
|  | CWSs DESIGNATED AS UTILIZING WATERS CONTAMINATED BY EFFLUENTS FROM NUCLEAR FACILITIES | QUARTERLY FOR GROSS BETA & IODINE-131 & ANNUALLY FOR TRITIUM & STRONTIUM-90; SEE NOTE 11 |  | QUARTERLY RESULT FOR GROSS BETA OR IODINE-131 > MCL; ANNUAL RESULT FOR TRITIUM OR STRONTIUM-90 > MCL | - MONTHLY FOR GROSS BETA, IODINE-131, TRITIUM, & STRONTIUM-90 |  | ANNUAL AVERAGE OF GROSS BETA MINUS POTASSIUM-40  15 pCi/L | - EVERY 3 YEARS FOR GROSS BETA, IODINE-131, TRITIUM, & STRONTIUM-90 |  |  |

TABLE 8: INITIAL OR ROUTINE MONITORING SCHEDULE (__________ 12/30/11)

- REFERENCE SUBSECTION 62-550.500(3), F.A.C.

Under initial or routine monitoring, public water systems shall take required samples during the time period specified below. See 40 C.F.R. Part 141, Subpart V, which is incorporated by reference in Rule 62-550.822, F.A.C., for the Stage 2 disinfection byproducts routine monitoring schedule.

| CONTAMINANT OR DISINFECTANT RESIDUAL GROUP |  | COMMUNITY WATER SYSTEMS SERVING MORE THAN 3,300 PEOPLE | COMMUNITY WATER SYSTEMS SERVING 3,300 OR FEWER PEOPLE | NON-TRANSIENT NON-COMMUNITY WATER SYSTEMS | TRANSIENT NON-COMMUNITY WATER SYSTEMS |
| --- | --- | --- | --- | --- | --- |
| ASBESTOS RULES 62-550.500(3) & 62-550.511 |  | FIRST YEAR OF EACH NINE-YEAR COMPLIANCE CYCLE | SECOND YEAR OF EACH NINE-YEAR COMPLIANCE CYCLE | THIRD YEAR OF EACH NINE-YEAR COMPLIANCE CYCLE | NOT REQUIRED |
| NITRATES AND NITRITES RULES 62-550.500(3) & 62-550.512 | GROUND WATER SYSTEMS | ANNUALLY |  |  |  |
|  | SUBPART H SYSTEMS | QUARTERLY |  |  | ANNUALLY |
| INORGANICS RULES 62-550.500(3) & 62-550.513 | GROUND WATER SYSTEMS | FIRST YEAR OF EACH THREE-YEAR COMPLIANCE PERIOD | SECOND YEAR OF EACH THREE-YEAR COMPLIANCE PERIOD | THIRD YEAR OF EACH THREE-YEAR COMPLIANCE PERIOD | NOT REQUIRED |
|  | SUBPART H SYSTEMS | ANNUALLY |  |  | NOT REQUIRED |
| CHLORINE & CHLORAMINES RULES 62-550.514(1) & 62-550.821 |  | MONTHLY FOR SYSTEMS ADDING CHLORINE OR CHLORAMINES |  |  | NOT REQUIRED |
| CHLORINE DIOXIDE RULES 62-550.514(1) & 62-550.821 |  | DAILY FOR SYSTEMS ADDING CHLORINE DIOXIDE |  |  |  |
| TOTAL TRIHALOMETHANES & HALOACETIC ACIDS (FIVE) – STAGE 1 MCL RULES 62-550.500(3), 550.514(2), & 62-550.821 | GROUND WATER SYSTEMS | QUARTERLY FOR SYSTEMS ADDING A DISINFECTANT & SERVING  10,000 PEOPLE & ANNUALLY DURING MONTH OF WARMEST WATER TEMPERATURE FOR SYSTEMS ADDING A DISINFECTANT & SERVING  10,000 PEOPLE | ANNUALLY DURING MONTH OF WARMEST WATER TEMPERATURE FOR SYSTEMS ADDING A DISINFECTANT | QUARTERLY FOR SYSTEMS ADDING A DISINFECTANT & SERVING  10,000 PEOPLE & ANNUALLY DURING MONTH OF WARMEST WATER TEMPERATURE FOR SYSTEMS ADDING A DISINFECTANT & SERVING  10,000 PEOPLE | NOT REQUIRED |
|  | SUBPART H SYSTEMS | QUARTERLY FOR SYSTEMS ADDING A DISINFECTANT | QUARTERLY FOR SYSTEMS ADDING A DISINFECTANT & SERVING  500 PEOPLE & ANNUALLY DURING MONTH OF WARMEST WATER TEMPERATURE FOR SYSTEMS ADDING A DISINFECTANT & SERVING  500 PEOPLE |  | NOT REQUIRED |
| CHLORITE – STAGE 1 MCL RULES 62-550.514(2) & 62-550.821 |  | DAILY AT ENTRANCE TO DISTRIBUTION SYSTEM & MONTHLY IN DISTRIBUTION SYSTEM FOR SYSTEMS ADDING CHLORINE DIOXIDE |  |  | NOT REQUIRED |
| BROMATE – STAGE 1 MCL RULES 62-550.514(2) & 62-550.821 |  | MONTHLY FOR SYSTEMS ADDING OZONE |  |  | NOT REQUIRED |
| VOLATILE ORGANICS RULES 62-550.500(3) & 62-550.515 |  | QUARTERLY OR, IF AUTHORIZED, ANNUALLY DURING THE FIRST YEAR OF EACH THREE-YEAR COMPLIANCE PERIOD | QUARTERLY OR, IF AUTHORIZED, ANNUALLY DURING THE SECOND YEAR OF EACH THREE-YEAR COMPLIANCE PERIOD | QUARTERLY OR, IF AUTHORIZED, ANNUALLY DURING THE THIRD YEAR OF EACH THREE-YEAR COMPLIANCE PERIOD | NOT REQUIRED |
| SYNTHETIC ORGANICS RULES 62-550.500(3) & 62-550.516 |  | QUARTERLY DURING THE FIRST YEAR OF EACH THREE-YEAR COMPLIANCE PERIOD. UNLESS REDUCED MONITORING IS AUTHORIZED | QUARTERLY DURING THE SECOND YEAR OF EACH THREE-YEAR COMPLIANCE PERIOD. UNLESS REDUCED MONITORING IS AUTHORIZED | QUARTERLY DURING THE THIRD YEAR OF EACH THREE-YEAR COMPLIANCE PERIOD UNLESS REDUCED MONITORING IS AUTHORIZED | NOT REQUIRED |
| MICROBIOLOGICAL CONTAMINANTS RULES 62-550.500(3) & 62-550.518 | GROUND WATER SYSTEMS | MONTHLY |  |  | MONTHLY FOR SYSTEMS SERVING  1,000 PEOPLE & QUARTERLY FOR SYSTEMS SERVING  1,000 PEOPLE |
|  | SUBPART H SYSTEMS | MONTHLY |  |  |  |
| GROSS ALPHA, RADIUM-226, RADIUM-228 & URANIUM RULES 62-550.500(3) & 62-550.519 |  | ROUTINE MONITORING OCCURS DURING FIRST YEAR OF EACH THREE-YEAR COMPLIANCE PERIOD UNLESS REDUCED MONITORING IS APPROVED | ROUTINE MONITORING OCCURS DURING SECOND YEAR OF EACH THREE-YEAR COMPLIANCE PERIOD UNLESS REDUCED MONITORING IS APPROVED | ROUTINE MONITORING OCCURS DURING THIRD YEAR OF EACH THREE-YEAR COMPLIANCE PERIOD UNLESS REDUCED MONITORING IS APPROVED NOT REQUIRED | NOT REQUIRED |
| BETA PARTICLE & PHOTON RADIOACTIVITY RULES 62-550.500(3) & 62-550.519 |  | QUARTERLY/ANNUALLY FOR SYSTEMS DESIGNATED AS VULNERABLE OR UTILIZING WATERS CONTAMINATED BY EFFLUENTS FROM NUCLEAR FACILITIES |  | NOT REQUIRED | NOT REQUIRED |
| SECONDARY CONTAMINANTS RULES 62-550.500(3) & 62-550.520 |  | FIRST YEAR OF EACH THREE-YEAR COMPLIANCE PERIOD | SECOND YEAR OF EACH THREE-YEAR COMPLIANCE PERIOD | NOT REQUIRED | NOT REQUIRED |

Rulemaking Authority 403.853(3), 403.861(9) FS. Law Implemented 403.853(1), (3), (7), 403.861(16), (17) FS. History–New 1-1-93, Amended 7-4-93, Formerly 17-550.519, Amended 2-7-95, 11-27-01, 4-14-03, 11-28-04,__________.

NAME OF PERSON ORIGINATING PROPOSED RULE: Mark Thomasson, Director of the Division of Water Resource Management

NAME OF AGENCY HEAD WHO APPROVED THE PROPOSED RULE: Herschel T. Vinyard Jr., Secretary

DATE PROPOSED RULE APPROVED BY AGENCY HEAD: January 12, 2014

DATE NOTICE OF PROPOSED RULE DEVELOPMENT PUBLISHED IN FAR: August 14, 2013