- 61G20-3.001 Scope.

(1) Products in the following categories as defined by subcategories of subsection 61G20-3.002(33), F.A.C., shall be available for approval by the Commission pursuant to Rule 61G20-3.007, F.A.C., for use in the state:

(a) Panel Walls;

(b) Exterior Doors;

(c) Roofing Products;

(d) Skylights;

(e) Windows;

(f) Shutters;

(g) Structural Components; and

(h) Impact Protective Systems.

(2) This rule applies to approval of products and systems, which comprise the building envelope and structural frame, for compliance with the structural requirements of the Florida Building Code.

Rulemaking Authority 553.842(1) FS. Law Implemented 553.842(5) FS. History–New 11-22-06, Formerly 9B-72.005, 9N-3.001, Amended 4-1-14.