## 25-4.091 Installation of Underground Distribution System Within Subdivision.

(1) Upon receipt of a proper application the utility shall install an underground telephone distribution system with sufficient and suitable materials which, in its judgment, will assure that the applicant will receive reasonably safe and adequate telephone service for the reasonably foreseeable future.

(2) All distribution cable and service entrance facilities shall be underground. Accessory equipment may be pedestal mounted when dictated by physical conditions or economic considerations.

(3) Service entrance facilities normally will be at the point of the building nearest the point at which the underground system enters the property to be served. If such service entrance point on any building is more than seventy-five (75) feet, measured at right angles, from the serving property line, then the applicant may be required to pay for the length in excess of seventy-five (75) feet in accordance with the extension rules of the utility on file with the Commission.

Rulemaking Authority 350.127(2) FS. Law Implemented 364.03, 364.15 FS. History–New 4-10-71, Formerly 25-4.91.