Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

NOTICE IS HEREBY GIVEN that on November 29, 2005, The Bureau of Elevator Safety hereby gives notice that it issued an Order Granting Variance Request in response to a petition filed on September 6, 2005 and advertised in FAW Vol. 31, No. 38, by Lee Rigby of Vertical Assessment Associates on behalf of DEX Imaging Office Building (VW 2005-133). The petition sought a waiver from Rules 100.3a, 101.6, 206.5a, 208.2a, 208.2b and 212.1, of ASME A17.1, 1996 Edition with 1997 Addenda, as adopted by Rule 61C-5.001, F.A.C. The petitioner requested to not have a machine room, to use 9.5-mm governor rope metal sheaves and drums lined with nonmetallic groove materials, sheaves with a minimum pitch diameter 40 times the diameter of the rope and to use aramid non-metallic ropes. The petition was granted as it was demonstrated that this new technology provided equivalent or greater safety than the present code.

A copy of the Order can be obtained from: Agency Clerk, Department of Business and Professional Regulation, 1940 North Monroe Street, Tallahassee, Florida 32399-2202.