25-6.019 Notification of Accidents.

(1) As soon as practicable, each utility shall notify the Commission of any accident occurring in connection with any part of the electrical system which:

(a) Involves death or injury requiring hospitalization of non-utility persons, or

(b) Is significant from a safety standpoint in the judgment of the utility even though it is not required by paragraph (a).

(2) Each utility shall report to the Commission within 30 days of any malfunction of or accident involving any part of the electrical system, fire, or explosion, that:

(a) Involves damage to the property of others for an amount in excess of $5000, or,

(b) Cause significant damage, in the judgment of the utility, to the utility’s facilities.

(3) Reports are not required with respect to personal injury, death, or property damage resulting from vehicular equipment striking poles and/or other utility property.

Specific Authority 366.05(1) FS. Law Implemented 366.04(2)(f), 366.05(1) FS. History–New 7-29-69, Amended 4-13-80, Formerly 25-6.19.