Notice of Declaratory Statement

DEPARTMENT OF FINANCIAL SERVICES

Division of State Fire Marshal

RULE NO.:	RULE TITLE:

69A-46.041	Inspection Requirements for Fire Protection Systems

NOTICE IS HEREBY GIVEN that the Department of Financial Services has issued an order disposing of the petition for declaratory statement filed by Philip W. Green, Fire Marshal, Estero Fire Rescue, on March 31, 2014. The following is a summary of the agency’s disposition of the petition:

The Notice of Petition for Declaratory Statement was published in Vol. 40, No. 66 of the Florida Administrative Register on April 4, 2014. The subject of this Petition is an interpretation of Rule 69A-46.041, Florida Administrative Code. Specifically, the petitioner has asked whether specific modes of communication are acceptable. The Division of State Fire Marshal determined that since the rule does not specify modes of communication, the methods of communication provided in the Petition are acceptable.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Ellen M. Simon, Chief Counsel, Department of Financial Services, Room 601A, Larson Building, 200 E. Gaines Street, Tallahassee, Florida 32399-0333.