25-6.050 Location of Meters.

The utility shall designate to an applicant or its customers the location for meter placement. Locations of meters should be easily accessible for reading, testing, and making necessary adjustments and repairs.

Specific Authority 366.05(1) FS. Law Implemented 366.05(1) FS. History–New 7-29-69, Formerly 25-6.50.