Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

NOTICE IS HEREBY GIVEN that on May 20, 2014, the Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety, received a petition for Tower Place @ Summit. Petitioner seeks an emergency variance of the requirements of ASME A17.1, Section 101.3, 111.10 and 204.5h and Chapter 7C-5 Florida Administrative Code, 1987 edition, Rule 7C-5.001(f)1. as adopted by subsection 61C-5.001(1), Florida Administrative Code, that requires access to the elevator machine rooms and overhead equipment spaces, hoistway door unlocking device, elevator car door must be openable by hand from inside the elevator when car is stopped due to malfunction or power failure within the unlocking zone with firefighters’ emergency operations which poses a significant economic/financial hardship. Any interested person may file comments within 5 days of the publication of this notice with Mark Boutin, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013 (VW2014-143).

A copy of the Petition for Variance or Waiver may be obtained by contacting: Mark Boutin, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013.