25-6.060 Meter Test - Referee.

(1) In the event of a dispute, upon written application to the Commission by any customer, a test of the customer’s meter will be made by the utility as soon as practicable. Said test will be supervised by a representative of the Commission.

(2) A meter shall in no way be disturbed after the utility has received notice that application has been made for such referee test unless a representative of the Commission is present or unless authority to do so is first given in writing by the Commission or by the customer.

(3) A report of the results of the test will be made by the Commission to the customer.

(4) For equipment tested under this rule, any previous accuracy test result on record at the time the meter test is requested must be retained in accordance with Rule 25-6.022, F.A.C.

Specific Authority 366.05(1) FS. Law Implemented 366.05(3) FS. History–New 7-29-69, Formerly 25-6.60, Amended 7-3-06.