- 25-6.074 Applicability.

(1) Extensions of electric distribution lines applied for after the effective date of these rules, and necessary to furnish permanent electric service to all structures within a new residential subdivision, or to new multiple-occupancy buildings, shall be made underground when requested by an applicant or required by governmental authority.

(2) Such extensions of service shall be made by the utility in accordance with the provisions in these rules.

Rulemaking Authority 366.05(1) FS. Law Implemented 366.03 FS. History–New 4-10-71, Formerly 25-6.74.