25-7.059 Use of Meters.

(1) All gas sold by a utility and all gas consumed by the utility shall be metered except in case of emergency, or when otherwise authorized by the Commission.

(2) Unless otherwise authorized by the Commission, each utility shall provide and install at its own expense and shall continue to own, operate, and maintain all equipment necessary for the regulation and measurement of gas to its customers.

(3) Prepayment meters shall not be used, except where otherwise authorized by the Commission.

(4) When there is more than one meter at a common location, the metering equipment shall be tagged or permanently marked to indicate the facility being metered.

Specific Authority 366.05(1) FS. Law Implemented 366.05(1) FS. History–Amended 10-20-73, Repromulgated 1-8-75, Amended 5-4-75, 2-13-84, Formerly 25-7.59.