25-7.066 Meter Test - Referee.

(1) In the event of a dispute, upon written application to the Commission by any customer, a test of the customer’s meter will be made or supervised as soon as practicable by a representative of the Commission.

(2) A meter shall in no way be disturbed after the utility has received notice that application has been made for such referee test unless a representative of the Commission is present or unless authority to do so is first given in writing by the Commission or by the customer.

(3) A written report of the results of the test will be made by the Commission to the customer.

Specific Authority 366.05(1) FS. Law Implemented 366.05(5) FS. History–Amended 10-20-73, Repromulgated 1-8-75, 5-4-75, Formerly 25-7.66.