25-7.084 Meter Readings.

(1) Each service meter shall be clearly marked to indicate the units registered. Unless special circumstances warrant, meters shall be read at monthly intervals on the approximate corresponding day of each meter-reading period. When there is good reason for doing so, estimated bills may be submitted.

(2) When an electronic meter is used to determine volumes consumed, the customer’s bill may be rendered from data received electronically, however, the mechanical counter of the metering device shall be read monthly. When available, both corrected and uncorrected total volumetric readings shall be recorded.

Specific Authority 366.05(1) FS. Law Implemented 366.05(1) FS. History–Repromulgated 1-8-75, Amended 5-4-75, Formerly 25-7.84, Amended 10-10-95.